## Automatic_transfer_switch_contr
Product | Image | Image Link | ENG Description | ENG Datasheet Link | ITA Description | ITA Datasheet Link | POL Description | POL Datasheet Link | RON Description | RON Datasheet Link
ATL100 | ATL100.jpg | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/products_images/ATL100.jpg | Modular automatic transfer switch controller for 2 power sources with single-phase control | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/ENG/ATL100.pdf | Commutatore di rete automatico modulare per il controllo di 2 linee | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/ITA/ATL100.pdf | Modułowy sterownik układu SZR do kontroli 2 jednofazowych źródeł zasilania | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/POL/ATL100.pdf | Inversor de sursa modular pentru 2 surse de alimentare cu comandă monofazata | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/RON/ATL100.pdf
ATL500 | ATL500.jpg | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/products_images/ATL500.jpg | Automatic transfer switch controller with NFC technology and synoptic, for 2 power sources, (144x144mm/5.7X5.7”), self-seeking power supply 110...240VAC | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/ENG/ATL500.pdf | Commutatore di rete automatico con tecnologia NFC e sinottico per il controllo di 2 linee, (144x144mm), auto-alimentazione 110...240VAC | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/ITA/ATL500.pdf | Automatyczny sterownik układu SZR z komunikacją NFC i synoptyką na panelu przednim do kontroli 2 trójfazowych źródeł zasilania (144x144mm), samoczynne zasilanie 110…240VAC | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/POL/ATL500.pdf | Inversor de sursa automat cu tehnologie nfc și sinoptic, pentru 2 surse de alimentare, (144x144mm/5.7x5.7 ”), auto-alimentare autorizată 110 ... 240VAC | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/RON/ATL500.pdf
ATL600 | ATL600.jpg | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/products_images/ATL600.jpg | Automatic transfer switch controller with optical port for 2 power sources (144X144mm/5.7X5.7”), power supply 110...240VAC | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/ENG/ATL600.pdf | Commutatore di rete automatico con porta ottica per il controllo di 2 linee (144x144mm), alimentazione 110...240VAC | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/ITA/ATL600.pdf | Automatyczny sterownik układu SZR z portem optycznym. Kontrola 2 trójfazowych źródeł zasilania (144x144mm), zasilanie pomocnicze 110…240VAC | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/POL/ATL600.pdf | Inversor de sursa automat cu port optic pentru 2 surse de alimentare (144x144mm/5.7x5.7 ”), alimentare 110 ... 240VAC | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/RON/ATL600.pdf
ATL601 | ATL601.jpg | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/products_images/ATL601.jpg | Automatic transfer switch controller with optical port for 2 power sources (144X144mm/5.7X5.7”), power supply 12...24VDC | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/ENG/ATL601.pdf | Commutatore di rete automatico con porta ottica per il controllo di 2 linee (144x144mm), alimentazione 12...24VDC | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/ITA/ATL601.pdf | Automatyczny sterownik układu SZR z portem optycznym. Kontrola 2 trójfazowych źródeł zasilania (144x144mm), zasilanie pomocnicze 12…24VDC | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/POL/ATL601.pdf | Inversor de sursa automat cu port optic pentru 2 surse de alimentare (144x144mm/5.7x5.7 ”), alimentare 12 ... 24VDC | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/RON/ATL601.pdf
ATL610 | ATL600.jpg | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/products_images/ATL600.jpg | Automatic transfer switch controller with optical port for 2 power sources (144X144mm/5.7X5.7”), power supply 110...240VAC and 12/24VDC, expandable with EXP... expansion modules | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/ENG/ATL610.pdf | Commutatore di rete automatico con porta ottica per il controllo di 2 linee (144x144mm), alimentazione 110...240VAC e 12/24VDC, espandibile con moduli di espansione EXP... | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/ITA/ATL610.pdf | Automatyczny sterownik układu SZR z portem optycznym. Kontrola 2 trójfazowych źródeł zasilania (144x144mm), zasilanie pomocnicze 110…240VAC i 12…24VDC, do rozbudowy modułami EXP | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/POL/ATL610.pdf | Inversor de sursa automat cu port optic pentru 2 surse de alimentare (144x144mm/5.7x5.7 ”), alimentare 110 ... 240VAC și 12/24VDC, expandibil cu moduli exp … | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/RON/ATL610.pdf
ATL800 | ATL800.jpg | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/products_images/ATL800.jpg | Automatic transfer switch controller with optical port for 2 power sources and 1 tie breaker (180x240mm), power supply 110...240VAC and 12/24/48VDC, expandable with EXP... expansion modules modules, built-in RS485 | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/ENG/ATL800.pdf | Commutatore di rete automatico con porta ottica per il controllo di 2 linee e 1 congiuntore (180x240mm), alimentazione 110...240VAC e 12/24/48VDC, espandibile con moduli di espansione EXP..., con interfaccia RS485 | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/ITA/ATL800.pdf | Automatyczny sterownik układu SZR z portem optycznym. Kontrola 2 trójfazowych źródeł zasilania i 1 urządzenia sprzęgła (180x240mm), zasilanie pomocnicze 110…240VAC i 12/24/48VDC, do rozbudowy modułami EXP, wbudowany RS485 | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/POL/ATL800.pdf | Inversor de sursa automat cu port optic pentru 2 surse de alimentare și 1 cupla (180x240mm), alimentare 110 ... 240VAC și 12/24/48VDC, expandibil cu exp … | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/RON/ATL800.pdf
ATL900 | ATL900.jpg | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/products_images/ATL900.jpg | Automatic transfer switch controller with optical port for 3 power sources and 2 tie breakers (180x240mm), power supply 110...240VAC and 12/24/48VDC, expandable with EXP... expansion modules, built-in RS485, 3PH+N current inputs | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/ENG/ATL900.pdf | Commutatore di rete automatico con porta ottica per il controllo di 3 linee e 2 congiuntore (180x240mm), alimentazione 110...240VAC e 12/24/48VDC, espandibile con moduli di espansione EXP..., con interfaccia RS485, ingressi di corrente trifase+neutro | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/ITA/ATL900.pdf | Automatyczny sterownik układu SZR z portem optycznym. Kontrola 3 trójfazowych źródeł zasilania i 2 urządzeń sprzęgła (180x240mm), zasilanie pomocnicze 110…240VAC i 12/24/48VDC, do rozbudowy modułami EXP, wbudowany RS485, wejścia pomiaru prądu 3F+N | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/POL/ATL900.pdf | Inversor de sursa automat cu port optic pentru 3 surse de alimentare și 2 cuple (180x240mm), alimentare 110 ... 240VAC și 12/24/48VDC, expandibil cu exp ... Module de extensie, integrat rs485, 3 faze + n intrări curente | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/RON/ATL900.pdf
ATLDPS1 | ATLDPS1.jpg | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/products_images/ATLDPS1.jpg | Dual power supply module for measurement and control of voltages present at supply inputs to power motorised circuit breakers/changeover switches, 110/230VAC configurable | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/ENG/ATLDPS1.pdf | Modulo per doppia alimentazione per controllo e misura tensioni presenti agli ingressi di alimentazione di interruttori/commutatori motorizzati, 110/230VAC impostabile | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/ITA/ATLDPS1.pdf | Moduł podwójnego zasilania. Do kontroli i pomiaru napięć obecnych na wejściach zasilających napędy wyłączników/rozłączników w układzie przełącznym, programowalne 110/230VAC | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/POL/ATLDPS1.pdf | Modul de alimentare duală pentru măsurarea și controlul tensiunilor prezente la intrările de alimentare pentru intrerupatoare motorizate/separatoare/contactoare, 110/230VAC configurabil | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/RON/ATLDPS1.pdf
ATP0045T4A230C600A | ATP0045T4A230C600A.JPG | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/products_images/ATP0045T4A230C600A.JPG | Enclosed automatic transfer switch ATS. Auxiliary supply 230VAC, with four-pole contactors. 45A, 31kVA. Dimensions 500X400X200mm | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/ENG/ATP0045T4A230C600A.pdf | Quadro di commutazione ATS. Alimentazione ausiliaria 230VAC, a 4 poli. 45A, 31kVA. Dimensioni 500X400X200mm | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/ITA/ATP0045T4A230C600A.pdf | Układ SZR w obudowie, zasilanie pomocnicze 230VAC, urządzenia wykonawcze: styczniki 4 polowe, 45A (31kVA). Wymiary: 500x400x200 | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/POL/ATP0045T4A230C600A.pdf | Tablou echipat complet ats. Alimentare auxiliară 230VAC, cu contactori cu patru poli. 45 a, 31 kva. Dimensiuni 500x400x200 | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/RON/ATP0045T4A230C600A.pdf
ATP0060T4A230C600A | ATP0045T4A230C600A.JPG | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/products_images/ATP0045T4A230C600A.JPG | Enclosed automatic transfer switch ATS. Auxiliary supply 230VAC, with four-pole contactors. 60A, 42kVA. Dimensions 500X400X200mm | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/ENG/ATP0060T4A230C600A.pdf | Quadro di commutazione ATS. Alimentazione ausiliaria 230VAC, a 4 poli. 60A, 42kVA. Dimensioni 500X400X200mm | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/ITA/ATP0060T4A230C600A.pdf | Układ SZR w obudowie, zasilanie pomocnicze 230VAC, urządzenia wykonawcze: styczniki 4 polowe, 60A (42kVA). Wymiary: 500x400x200 | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/POL/ATP0060T4A230C600A.pdf | Tablou echipat complet ats. Alimentare auxiliară 230VAC, cu contactori cu patru poli. 60 a, 42 kva. Dimensiuni 500x400x200 | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/RON/ATP0060T4A230C600A.pdf
ATP0080T4A230C600A | ATP0045T4A230C600A.JPG | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/products_images/ATP0045T4A230C600A.JPG | Enclosed automatic transfer switch ATS. Auxiliary supply 230VAC, with four-pole contactors. 80A, 55kVA. Dimensions 500X400X200mm | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/ENG/ATP0080T4A230C600A.pdf | Quadro di commutazione ATS. Alimentazione ausiliaria 230VAC, a 4 poli. 80A, 55kVA. Dimensioni 500X400X200mm | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/ITA/ATP0080T4A230C600A.pdf | Układ SZR w obudowie, zasilanie pomocnicze 230VAC, urządzenia wykonawcze: styczniki 4 polowe, 80A (55kVA). Wymiary: 500x400x200 | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/POL/ATP0080T4A230C600A.pdf | Tablou echipat complet ats. Alimentare auxiliară 230VAC, cu contactori cu patru poli. 80 a, 55 kva. Dimensiuni 500x400x200 | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/RON/ATP0080T4A230C600A.pdf
ATP0100T4A230C600A | ATP0045T4A230C600A.JPG | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/products_images/ATP0045T4A230C600A.JPG | Enclosed automatic transfer switch ATS. Auxiliary supply 230VAC, with four-pole contactors. 100A, 69kVA. Dimensions 500X400X200mm | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/ENG/ATP0100T4A230C600A.pdf | Quadro di commutazione ATS. Alimentazione ausiliaria 230VAC, a 4 poli. 100A, 69kVA. Dimensioni 500X400X200mm | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/ITA/ATP0100T4A230C600A.pdf | Układ SZR w obudowie, zasilanie pomocnicze 230VAC, urządzenia wykonawcze: styczniki 4 polowe, 100A (69kVA). Wymiary: 500x400x200 | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/POL/ATP0100T4A230C600A.pdf | Tablou echipat complet ats. Alimentare auxiliară 230VAC, cu contactori cu patru poli. 100 a, 69 kva. Dimensiuni 500x400x200 | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/RON/ATP0100T4A230C600A.pdf
ATP0125T4A230C600A | ATP0045T4A230C600A.JPG | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/products_images/ATP0045T4A230C600A.JPG | Enclosed automatic transfer switch ATS. Auxiliary supply 230VAC, with four-pole contactors. 125A, 87kVA. Dimensions 600X400X250mm | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/ENG/ATP0125T4A230C600A.pdf | Quadro di commutazione ATS. Alimentazione ausiliaria 230VAC, a 4 poli. 125A, 87kVA. Dimensioni 600X400X250mm | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/ITA/ATP0125T4A230C600A.pdf | Układ SZR w obudowie, zasilanie pomocnicze 230VAC, urządzenia wykonawcze: styczniki 4 polowe, 125A (87kVA). Wymiary: 600X400X250 | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/POL/ATP0125T4A230C600A.pdf | Tablou echipat complet ats. Alimentare auxiliară 230VAC, cu contactori cu patru poli. 125 a, 87 kva. Dimensiuni 600X400X250 | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/RON/ATP0125T4A230C600A.pdf
ATP0160T4A230C600A | ATP0045T4A230C600A.JPG | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/products_images/ATP0045T4A230C600A.JPG | Enclosed automatic transfer switch ATS. Auxiliary supply 230VAC, with four-pole contactors. 160A, 111kVA. Dimensions 600X400X250mm | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/ENG/ATP0160T4A230C600A.pdf | Quadro di commutazione ATS. Alimentazione ausiliaria 230VAC, a 4 poli. 160A, 111kVA. Dimensioni 600X400X250mm | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/ITA/ATP0160T4A230C600A.pdf | Układ SZR w obudowie, zasilanie pomocnicze 230VAC, urządzenia wykonawcze: styczniki 4 polowe, 160A (111kVA). Wymiary: 600X400X250 | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/POL/ATP0160T4A230C600A.pdf | Tablou echipat complet ats. Alimentare auxiliară 230VAC, cu contactori cu patru poli. 160 a, 111 kva. Dimensiuni 600X400X250 | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/RON/ATP0160T4A230C600A.pdf
ATPBU061N00 | ATPBU061N00.jpg | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/products_images/ATPBU061N00.jpg | Enclosed automatic transfer switch. Single-phase Full Backup 6kW | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/ENG/ATPBU061N00.pdf | Quadro di commutazione monofase Full Backup 6kW | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/ITA/ATPBU061N00.pdf | Układ SZR w obudowie. 1F. Pełne zasilanie rezerwowe: 6kW | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/POL/ATPBU061N00.pdf | Enclosed automatic transfer switch. Single-phase Full Backup 6kW | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/RON/ATPBU061N00.pdf
ATPBU203N00 | ATPBU203N00.jpg | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/products_images/ATPBU203N00.jpg | Enclosed automatic transfer switch. Three-phase with neutral Full Backup 10kW | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/ENG/ATPBU203N00.pdf | Quadro di commutazione trifase con neutro Full Backup 10kW | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/ITA/ATPBU203N00.pdf | Układ SZR w obudowie. 3F. Pełne zasilanie rezerwowe: 10kW | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/POL/ATPBU203N00.pdf | Enclosed automatic transfer switch. Three-phase with neutral Full Backup 10kW | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/RON/ATPBU203N00.pdf
ATPEP031N00 | ATPEP031N00.jpg | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/products_images/ATPEP031N00.jpg | Enclosed automatic transfer switch. Single-phase EPS (Emergency Power Supply) 3kW | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/ENG/ATPEP031N00.pdf | Quadro di commutazione monofase EPS (Emergency Power Supply) 3kW | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/ITA/ATPEP031N00.pdf | Układ SZR w obudowie. 1F. Zasilanie rezerwowe (EPS): 3kW | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/POL/ATPEP031N00.pdf | Enclosed automatic transfer switch. Single-phase EPS (Emergency Power Supply) 3kW | http://datasheet.lovatoelectric.com/Automatic_transfer_switch_controllers/RON/ATPEP031N00.pdf