## Micro_PLCs_and_HMI
Product | Image | Image Link | ENG Description | ENG Datasheet Link | ITA Description | ITA Datasheet Link | POL Description | POL Datasheet Link | RON Description | RON Datasheet Link
EXCCAB02 | EXCCAB02.jpg | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/products_images/EXCCAB02.jpg | RS485 connection cable for LRH, 3m length | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ENG/EXCCAB02.pdf | Cavo di collegamento RS485 per LRH, lunghezza 3m | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ITA/EXCCAB02.pdf | Kabel łączący RS485 z LRH, długość 3m | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/POL/EXCCAB02.pdf | RS485 connection cable for LRH, 3m length | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/RON/EXCCAB02.pdf
LRD10RA240 | LRD10RA240.jpg | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/products_images/LRD10RA240.jpg | Micro PLCs, base module, auxiliary supply voltage 100-240VAC, 6/4 relay | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ENG/LRD10RA240.pdf | Modulo base, tensione di alimentazione ausiliaria 100...240VAC, 6/4 a relè | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ITA/LRD10RA240.pdf | Przekaźnik programowalny, moduł podstawowy, 6 wej, 4 wyj, 100-240VAC | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/POL/LRD10RA240.pdf | Micro PLCs, base module, auxiliary supply voltage 100-240VAC, 6/4 relay | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/RON/LRD10RA240.pdf
LRD12RA024 | LRD12RA024.jpg | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/products_images/LRD12RA024.jpg | Micro PLCs, base module, auxiliary supply voltage 24VAC, 8/4 relay | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ENG/LRD12RA024.pdf | Modulo base, tensione di alimentazione ausiliaria 24VAC, 8/4 a relè | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ITA/LRD12RA024.pdf | Przekaźnik programowalny, moduł podstawowy, 8 wej (2 analog), 4 wyj, 24VAC | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/POL/LRD12RA024.pdf | Micro PLCs, base module, auxiliary supply voltage 24VAC, 8/4 relay | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/RON/LRD12RA024.pdf
LRD12RD024 | LRD12RD024.jpg | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/products_images/LRD12RD024.jpg | Micro PLCs, base module, auxiliary supply voltage 24VDC, 8/4 relay | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ENG/LRD12RD024.pdf | Modulo base, tensione di alimentazione ausiliaria 24VDC, 8/4 a relè | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ITA/LRD12RD024.pdf | Przekaźnik programowalny, moduł podstawowy, 8 wej (2 analog), 4 wyj, 24VDC | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/POL/LRD12RD024.pdf | Micro PLCs, base module, auxiliary supply voltage 24VDC, 8/4 relay | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/RON/LRD12RD024.pdf
LRD12TD024 | LRD12TD024.jpg | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/products_images/LRD12TD024.jpg | Micro PLCs, base module, auxiliary supply voltage 24VDC, 8/4 transistor | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ENG/LRD12TD024.pdf | Modulo base, tensione di alimentazione ausiliaria 24VDC, 8/4 a transistor | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ITA/LRD12TD024.pdf | Przekaźnik programowalny, moduł podstawowy, 8 wej (2 analog), 4 wyj, 24VDC | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/POL/LRD12TD024.pdf | Micro PLCs, base module, auxiliary supply voltage 24VDC, 8/4 transistor | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/RON/LRD12TD024.pdf
LRD20RA024 | LRD20RA024.jpg | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/products_images/LRD20RA024.jpg | Micro PLCs, base module, auxiliary supply voltage 24VAC, 12/8 relay | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ENG/LRD20RA024.pdf | Modulo base, tensione di alimentazione ausiliaria 24VAC, 12/8 a relè | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ITA/LRD20RA024.pdf | Przekaźnik programowalny, moduł podstawowy, 12 wej, 8 wyj, 24VAC | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/POL/LRD20RA024.pdf | Micro PLCs, base module, auxiliary supply voltage 24VAC, 12/8 relay | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/RON/LRD20RA024.pdf
LRD20RA240 | LRD20RA240.jpg | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/products_images/LRD20RA240.jpg | Micro PLCs, base module, auxiliary supply voltage 100-240VAC, 12/8 relay | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ENG/LRD20RA240.pdf | Modulo base, tensione di alimentazione ausiliaria 100...240VAC, 12/8 a relè | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ITA/LRD20RA240.pdf | Przekaźnik programowalny, moduł podstawowy, 12 wej, 8 wyj, 100-240VAC | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/POL/LRD20RA240.pdf | Micro PLCs, base module, auxiliary supply voltage 100-240VAC, 12/8 relay | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/RON/LRD20RA240.pdf
LRD20RD012 | LRD20RD012.jpg | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/products_images/LRD20RD012.jpg | Micro PLCs, base module, auxiliary supply voltage 12VDC, 12/8 relay | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ENG/LRD20RD012.pdf | Modulo base, tensione di alimentazione ausiliaria 12VDC, 12/8 a relè | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ITA/LRD20RD012.pdf | Przekaźnik programowalny, moduł podstawowy, 12 wej (4 analog), 8 wyj, 12VDC | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/POL/LRD20RD012.pdf | Micro PLCs, base module, auxiliary supply voltage 12VDC, 12/8 relay | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/RON/LRD20RD012.pdf
LRD20RD024 | LRD20RD024.jpg | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/products_images/LRD20RD024.jpg | Micro PLCs, base module, auxiliary supply voltage 24VDC, 12/8 relay | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ENG/LRD20RD024.pdf | Modulo base, tensione di alimentazione ausiliaria 24VDC, 12/8 a relè | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ITA/LRD20RD024.pdf | Przekaźnik programowalny, moduł podstawowy, 12 wej (4 analog), 8 wyj, 24VDC | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/POL/LRD20RD024.pdf | Micro PLCs, base module, auxiliary supply voltage 24VDC, 12/8 relay | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/RON/LRD20RD024.pdf
LRD20RD024P1 | LRD20RD024P1.jpg | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/products_images/LRD20RD024P1.jpg | Micro PLCs, base module, auxiliary supply voltage 24VDC, 12/8 relay. Built-in RS485 | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ENG/LRD20RD024P1.pdf | Modulo base, tensione di alimentazione ausiliaria 24VDC, 12/8 a relè. RS485 incorporata | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ITA/LRD20RD024P1.pdf | Przekaźnik programowalny, moduł podstawowy, 12 wej (4 analog), 8 wyj, 24VDC, RS-485 | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/POL/LRD20RD024P1.pdf | Micro PLCs, base module, auxiliary supply voltage 24VDC, 12/8 relay. Built-in RS485 | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/RON/LRD20RD024P1.pdf
LRDDEM12RD024 | LRDDEM.jpg | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/products_images/LRDDEM.jpg | Training kit with LRD12RD024 mounted in inputs/outputs simulation board | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ENG/LRDDEM12RD024.pdf | Kit didattico completo di LRD12RD024 e scheda di simulazione ingressi uscite | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ITA/LRDDEM12RD024.pdf | Zestaw szkoleniowy LRD12RD024, zamontowany na płycie + wejścia/wyjścia | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/POL/LRDDEM12RD024.pdf | Training kit with LRD12RD024 mounted in inputs/outputs simulation board | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/RON/LRDDEM12RD024.pdf
LRDDEM20RD024 | LRDDEM.jpg | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/products_images/LRDDEM.jpg | Training kit with LRD20RD024 mounted on inputs/outputs simulation board | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ENG/LRDDEM20RD024.pdf | Kit didattico completo di LRD20RD024 e scheda di simulazione ingressi uscite | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ITA/LRDDEM20RD024.pdf | Zestaw szkoleniowy LRD20RD024, zamontowany na płycie + wejścia/wyjścia | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/POL/LRDDEM20RD024.pdf | Training kit with LRD20RD024 mounted on inputs/outputs simulation board | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/RON/LRDDEM20RD024.pdf
LRDKIT10RA240 | LRDKIT.jpg | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/products_images/LRDKIT.jpg | LRD starter kit complete with LRD10RA240 base module, LRXSW software and LRXC00 cable | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ENG/LRDKIT10RA240.pdf | Kit composto da modulo base LRD10RA240, software LRXSW e cavo LRXC03 | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ITA/LRDKIT10RA240.pdf | Zestaw: LRD10R A240, LRX SW i LRX C00 | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/POL/LRDKIT10RA240.pdf | LRD starter kit complete cu LRD10R A240 base module, LRXSW software and LRXC03 cable | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/RON/LRDKIT10RA240.pdf
LRDKIT12RA024 | LRDKIT.jpg | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/products_images/LRDKIT.jpg | LRD starter kit complete with LRD12RA024 base module, LRXSW software and LRXC00 cable | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ENG/LRDKIT12RA024.pdf | Kit composto da modulo base LRD12RA024, software LRXSW e cavo LRXC03 | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ITA/LRDKIT12RA024.pdf | Zestaw: LRD12R A024, LRX SW i LRX C00 | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/POL/LRDKIT12RA024.pdf | LRD starter kit complete cu LRD12R A024 base module, LRXSW software and LRXC03 cable | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/RON/LRDKIT12RA024.pdf
LRDKIT12RD024 | LRDKIT.jpg | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/products_images/LRDKIT.jpg | LRD starter kit complete with LRD12RD024 base module, LRXSW software and LRXC00 cable | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ENG/LRDKIT12RD024.pdf | Kit composto da modulo base LRD12RD024, software LRXSW e cavo LRXC03 | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ITA/LRDKIT12RD024.pdf | Zestaw: LRD12R D024, LRX SW i LRX C00 | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/POL/LRDKIT12RD024.pdf | LRD starter kit complete cu LRD12R D024 base module, LRXSW software and LRXC03 cable | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/RON/LRDKIT12RD024.pdf
LRDKITHMIA04 | LRDKITHMIA04.jpg | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/products_images/LRDKITHMIA04.jpg | Kit LRD20RD024P1 + cable + HMI 4.3" | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ENG/LRDKITHMIA04.pdf | Kit LRD20RD024P1 + cavo + HMI 4.3" | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ITA/LRDKITHMIA04.pdf | Zestaw LRD20RD024P1 + kabel + HMI 4.3" | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/POL/LRDKITHMIA04.pdf | Kit LRD20RD024P1 + cable + HMI 4.3" | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/RON/LRDKITHMIA04.pdf
LRDKITHMIA07 | LRDKITHMIA04.jpg | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/products_images/LRDKITHMIA04.jpg | Kit LRD20RD024P1 + cable + HMI 7" | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ENG/LRDKITHMIA07.pdf | Kit LRD20RD024P1 + cavo + HMI 7" | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ITA/LRDKITHMIA07.pdf | Zestaw LRD20RD024P1 + kabel + HMI 7" | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/POL/LRDKITHMIA07.pdf | Kit LRD20RD024P1 + cable + HMI 7" | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/RON/LRDKITHMIA07.pdf
LRE02AD024 | LRE02AD024.jpg | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/products_images/LRE02AD024.jpg | Micro PLCs, expansion module, auxiliary supply voltage 24VDC, 2 analog outputs 0...10V/0...20mA | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ENG/LRE02AD024.pdf | Modulo di espansione, tensione di alimentazione ausiliaria 24VDC, 2 uscite analog. 0...10V/0...20MA | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ITA/LRE02AD024.pdf | Przekaźnik programowalny, moduł rozszerzeń, 2 wyjścia analogowe: 0/4...20mA, 0...10VDC, zasilanie 24VDC | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/POL/LRE02AD024.pdf | Micro PLCs, expansion module, auxiliary supply voltage 24VDC, 2 analog outputs 0...10V/0...20mA | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/RON/LRE02AD024.pdf
LRE04AD024 | LRE04AD024.jpg | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/products_images/LRE04AD024.jpg | Micro PLCs, expansion module, auxiliary supply voltage 24VDC, 4 analog inputs 0...10V/0...20mA | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ENG/LRE04AD024.pdf | Modulo di espansione, tensione di alimentazione ausiliaria 24VDC, 4 ingr. analog. 0...10V/0...20MA | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ITA/LRE04AD024.pdf | Przekaźnik programowalny, moduł rozszerzeń, 4 wejścia analogowe: 0/4...20mA, 0...10VDC, zasilanie 24VDC | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/POL/LRE04AD024.pdf | Micro PLCs, expansion module, auxiliary supply voltage 24VDC, 4 analog inputs 0...10V/0...20mA | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/RON/LRE04AD024.pdf
LRE04PD024 | LRE04PD024.jpg | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/products_images/LRE04PD024.jpg | Micro PLCs, expansion module, auxiliary supply voltage 24VDC, 4 PT100 temperature sensor inputs | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ENG/LRE04PD024.pdf | Modulo di espansione, tensione di alimentazione ausiliaria 24VDC, 4 ingr. sonda temper. PT100 | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ITA/LRE04PD024.pdf | Przekaźnik programowalny, moduł rozszerzeń, 4 wejścia do czujników temperatury PT100, zasilanie 24VDC | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/POL/LRE04PD024.pdf | Micro PLCs, expansion module, auxiliary supply voltage 24VDC, 4 PT100 temperature sensor inputs | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/RON/LRE04PD024.pdf
LRE08RA024 | LRE08RA024.jpg | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/products_images/LRE08RA024.jpg | Micro PLCs, expansion module, auxiliary supply voltage 24VAC, 4/4 relay | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ENG/LRE08RA024.pdf | Modulo di espansione, tensione di alimentazione ausiliaria 24VAC, 4/4 a relè | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ITA/LRE08RA024.pdf | Przekaźnik programowalny, moduł rozszerzeń, 4 wej, 4 wyj, 24VAC | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/POL/LRE08RA024.pdf | Micro PLCs, expansion module, auxiliary supply voltage 24VAC, 4/4 relay | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/RON/LRE08RA024.pdf
LRE08RA240 | LRE08RA240.jpg | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/products_images/LRE08RA240.jpg | Micro PLCs, expansion module, auxiliary supply voltage 100-240VAC, 4/4 relay | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ENG/LRE08RA240.pdf | Modulo di espansione, tensione di alimentazione ausiliaria 100...240VAC, 4/4 a relè | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ITA/LRE08RA240.pdf | Przekaźnik programowalny, moduł rozszerzeń, 4 wej, 4 wyj, 100-240VAC | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/POL/LRE08RA240.pdf | Micro PLCs, expansion module, auxiliary supply voltage 100-240VAC, 4/4 relay | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/RON/LRE08RA240.pdf
LRE08RD024 | LRE08RD024.jpg | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/products_images/LRE08RD024.jpg | Micro PLCs, expansion module, auxiliary supply voltage 24VDC, 4/4 relay | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ENG/LRE08RD024.pdf | Modulo di espansione, tensione di alimentazione ausiliaria 24VDC, 4/4 a relè | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ITA/LRE08RD024.pdf | Przekaźnik programowalny, moduł rozszerzeń, 4 wej, 4 wyj, 24VDC | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/POL/LRE08RD024.pdf | Micro PLCs, expansion module, auxiliary supply voltage 24VDC, 4/4 relay | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/RON/LRE08RD024.pdf
LRE08TD024 | LRE08TD024.jpg | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/products_images/LRE08TD024.jpg | Micro PLCs, expansion module, auxiliary supply voltage 24VDC, 4/4 transistor | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ENG/LRE08TD024.pdf | Modulo di espansione, tensione di alimentazione ausiliaria 24VDC, 4/4 a transistor | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ITA/LRE08TD024.pdf | Przekaźnik programowalny, moduł rozszerzeń, 4 wej, 4 wyj, 24VDC | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/POL/LRE08TD024.pdf | Micro PLCs, expansion module, auxiliary supply voltage 24VDC, 4/4 transistor | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/RON/LRE08TD024.pdf
LREP00 | LREP00.jpg | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/products_images/LREP00.jpg | Modbus-RTU protocol communication unit | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ENG/LREP00.pdf | Modulo di comunicazione protocollo Modbus®-RTU | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ITA/LREP00.pdf | Komunikacja Modbus-RTU | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/POL/LREP00.pdf | Modbus-RTU protocol communication unit | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/RON/LREP00.pdf
LRHA04 | LRHA04.jpg | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/products_images/LRHA04.jpg | HMI display 4.3” TFT LCD 64K colors touch-screen, supply 12-24VDC, ports Ethernet, RS232/RS485/RS422, USB. Protocols Modbus-RTU, Modbus-TCP, SIMATIC S7 Ethernet, OPC UA and MQTT | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ENG/LRHA04.pdf | HMI display 4.3” TFT LCD 64K colori touch-screen, alim. 12-24VDC, porte Ethernet, RS232/RS485/RS422, USB. Supporto protocolli Modbus RTU, Modbus-TCP, SIMATIC S7 Ethernet, OPC UA e MQTT | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ITA/LRHA04.pdf | Panel operatorski HMI, wyświetlacz TFT z podświetleniem LCD o przekątnej 4.3”, 64K, ekran dotykowy, zasilanie 12-24VDC, interfejsy: Ethernet, RS232/RS485/RS422, USB | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/POL/LRHA04.pdf | HMI display 4.3” TFT LCD 64K colors touch-screen, supply 12-24VDC, ports Ethernet, RS232/RS485/RS422, USB. Protocols Modbus-RTU, Modbus-TCP, SIMATIC S7 Ethernet, OPC UA and MQTT | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/RON/LRHA04.pdf
LRHA07 | LRHA07.jpg | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/products_images/LRHA07.jpg | HMI display 7” TFT LCD 64K colors touch-screen, supply 12-24VDC, ports Ethernet, RS232/RS485/RS422, USB. Protocols Modbus-RTU, Modbus-TCP, SIMATIC S7 Ethernet, OPC UA and MQTT | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ENG/LRHA07.pdf | HMI display 7” TFT LCD 64K colori touch-screen, alim. 12-24VDC, porte Ethernet, RS232/RS485/RS422, USB. Supporto protocolli Modbus RTU, Modbus-TCP, SIMATIC S7 Ethernet, OPC UA e MQTT | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ITA/LRHA07.pdf | Panel operatorski HMI, wyświetlacz TFT z podświetleniem LCD o przekątnej 7”, 64K, ekran dotykowy, zasilanie 12-24VDC, interfejsy: Ethernet, RS232/RS485/RS422, USB | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/POL/LRHA07.pdf | HMI display 7” TFT LCD 64K colors touch-screen, supply 12-24VDC, ports Ethernet, RS232/RS485/RS422, USB. Protocols Modbus-RTU, Modbus-TCP, SIMATIC S7 Ethernet, OPC UA and MQTT | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/RON/LRHA07.pdf
LRHA10 | LRHA10.jpg | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/products_images/LRHA10.jpg | HMI display 10.1” TFT LCD 64K colors touch-screen, supply 12-24VDC, ports Ethernet, RS232/RS485/RS422, USB. Protocols Modbus-RTU, Modbus-TCP, SIMATIC S7 Ethernet, OPC UA and MQTT | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ENG/LRHA10.pdf | HMI display 10.1” TFT LCD 64K colori touch-screen, alim. 12-24VDC, porte Ethernet, RS232/RS485/RS422, USB. Supporto protocolli Modbus RTU, Modbus-TCP, SIMATIC S7 Ethernet, OPC UA e MQTT | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ITA/LRHA10.pdf | Panel operatorski HMI, wyświetlacz TFT z podświetleniem LCD o przekątnej 10.1”, 64K, ekran dotykowy, zasilanie 12-24VDC, interfejsy: Ethernet, RS232/RS485/RS422, USB | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/POL/LRHA10.pdf | HMI display 10.1” TFT LCD 64K colors touch-screen, supply 12-24VDC, ports Ethernet, RS232/RS485/RS422, USB. Protocols Modbus-RTU, Modbus-TCP, SIMATIC S7 Ethernet, OPC UA and MQTT | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/RON/LRHA10.pdf
LRHSW01 |  |  | User licence for LRHSW programming software, valid for 1 station | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ENG/LRHSW01.pdf | Licenza per software di programmazione LRHSW, valida per 1 postazione | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ITA/LRHSW01.pdf | Licencja użytkowania programu LRH SW (do pobrania z: www.LovatoElectric.pl), ważna na 1 stanowisko | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/POL/LRHSW01.pdf | User licence for LRHSW programming software, valid for 1 station | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/RON/LRHSW01.pdf
LRK10RA240 | LRK10RA240.jpg | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/products_images/LRK10RA240.jpg | Micro PLC, base module with display, auxiliary supply voltage 100…240VAC, 6/4 relay, built-in Ethernet port | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ENG/LRK10RA240.pdf | Micro PLC, modulo base con display, tensione di alimentazione ausiliaria 100…240VAC, 6/4 a relè, porta Ethernet integrata | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ITA/LRK10RA240.pdf | Przekaźnik programowalny, moduł podstawowy, 6 wej., 4 wyj., 100…240VAC, port Ethernet | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/POL/LRK10RA240.pdf | Micro PLC, base module with display, auxiliary supply voltage 100…240VAC, 6/4 relay, built-in Ethernet port | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/RON/LRK10RA240.pdf
LRK12RD024 | LRK12RD024.jpg | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/products_images/LRK12RD024.jpg | Micro PLC, base module with display, auxiliary supply voltage 12/24VDC, 8/4 relay, built-in Ethernet port | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ENG/LRK12RD024.pdf | Micro PLC, modulo base con display, tensione di alimentazione ausiliaria 12/24VDC, 8/4 a relè, porta Ethernet integrata | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ITA/LRK12RD024.pdf | Przekaźnik programowalny, moduł podstawowy, 8 wej., 4 wyj., 12-24VDC, port Ethernet | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/POL/LRK12RD024.pdf | Micro PLC, base module with display, auxiliary supply voltage 12/24VDC, 8/4 relay, built-in Ethernet port | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/RON/LRK12RD024.pdf
LRK12RD024B | LRK12RD024B.jpg | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/products_images/LRK12RD024B.jpg | Micro PLC, base module without display, auxiliary supply voltage 12/24VDC, 8/4 relay, built-in Ethernet port | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ENG/LRK12RD024B.pdf | Micro PLC, modulo base senza display, tensione di alimentazione ausiliaria 12/24VDC, 8/4 a relè, porta Ethernet integrata | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ITA/LRK12RD024B.pdf | Przekaźnik programowalny, moduł podstawowy, bez wyświetlacza, 8 wej., 4 wyj., 12-24VDC, port Ethernet | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/POL/LRK12RD024B.pdf | Micro PLC, base module without display, auxiliary supply voltage 12/24VDC, 8/4 relay, built-in Ethernet port | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/RON/LRK12RD024B.pdf
LRK20RD024RS | LRK20RD024RS.jpg | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/products_images/LRK20RD024RS.jpg | Micro PLC, base module with display, auxiliary supply voltage 12/24VDC, 12/8 relay, built-in Ethernet and RS485 port | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ENG/LRK20RD024RS.pdf | Micro PLC, modulo base con display, tensione di alimentazione ausiliaria 12/24VDC, 12/8 a relè, porta Ethernet e RS485 integrate | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ITA/LRK20RD024RS.pdf | Przekaźnik programowalny, moduł podstawowy, bez wyświetlacza, 12 wej., 8 wyj., 12-24VDC, port Ethernet i RS485 | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/POL/LRK20RD024RS.pdf | Micro PLC, base module with display, auxiliary supply voltage 12/24VDC, 12/8 relay, built-in Ethernet and RS485 port | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/RON/LRK20RD024RS.pdf
LRX1V3D024 | LRX1V3D024.jpg | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/products_images/LRX1V3D024.jpg | Power supply unit, 100-240VAC/24VDC, 1.3A | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ENG/LRX1V3D024.pdf | Alimentatore 100...240VAC/24VDC 1,3A | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ITA/LRX1V3D024.pdf | Zasilacz, 100-240VAC/24VDC, 1.3A | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/POL/LRX1V3D024.pdf | Power supply unit, 100-240VAC/24VDC, 1.3A | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/RON/LRX1V3D024.pdf
LRXC00 | LRXC00.jpg | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/products_images/LRXC00.jpg | PC-LRD connecting cable, 1.5m/5ft long | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ENG/LRXC00.pdf | Cavo di connessione PC (RS232)-LRD (1,5m) | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ITA/LRXC00.pdf | Kabel łączący PC-LRD, długość 1.5m/5ft | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/POL/LRXC00.pdf | PC-LRD connecting cable, 1.5m/5ft long | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/RON/LRXC00.pdf
LRXC02 | LRXC02.jpg | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/products_images/LRXC02.jpg | PC-LRXP01 connecting cable | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ENG/LRXC02.pdf | Cavo di connessione PC (RS232)-LRXP01 | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ITA/LRXC02.pdf | Kabel łączący PC-LRX P01 | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/POL/LRXC02.pdf | PC-LRX P01 connecting cable | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/RON/LRXC02.pdf
LRXC03 | LRXC03.jpg | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/products_images/LRXC03.jpg | PC (USB)-LRD connecting cable, 1.5m/5ft long | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ENG/LRXC03.pdf | Cavo di connessione PC (USB)-LRD (1,5m) | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ITA/LRXC03.pdf | Kabel łączący PC (USB)-LRD, długość 1.5m/5ft | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/POL/LRXC03.pdf | PC (USB)-LRD connecting cable, 1.5m/5ft long | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/RON/LRXC03.pdf
LRXM00 | LRXM00.jpg | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/products_images/LRXM00.jpg | Program backup memory | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ENG/LRXM00.pdf | Memoria di back-up del programma | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ITA/LRXM00.pdf | Pamięć | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/POL/LRXM00.pdf | Program backup memsauy | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/RON/LRXM00.pdf
LRXP01 | LRXP01.jpg | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/products_images/LRXP01.jpg | HMI operator panel, 24VDC, RS232, RS485 (Modbus-RTU master) | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ENG/LRXP01.pdf | Pannello operatore 24VDC, RS232, RS485 (Modbus-RTU master) | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/ITA/LRXP01.pdf | Panel operatorski HMI, 24VDC, RS-232, RS-485 (Modbus®-RTU Master) | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/POL/LRXP01.pdf | HMI operator panel, 24VDC, RS232, RS485 (Modbus®-RTU Master) | http://datasheet.lovatoelectric.com/Micro_PLCs_and_HMI/RON/LRXP01.pdf