## Monitoring_relays
Product | Image | Image Link | ENG Description | ENG Datasheet Link | ITA Description | ITA Datasheet Link | POL Description | POL Datasheet Link | RON Description | RON Datasheet Link
PMA20240 | PMA20240.jpg | http://datasheet.lovatoelectric.com/Monitoring_relays/products_images/PMA20240.jpg | Current monitoring relay for single-phase system, AC/DC maximum current control, 5A or 16A | http://datasheet.lovatoelectric.com/Monitoring_relays/ENG/PMA20240.pdf | Relè amperometrico per sistema monofase, massima corrente AC/DC, 5A o 16A | http://datasheet.lovatoelectric.com/Monitoring_relays/ITA/PMA20240.pdf | Przekaźnik nadzoru prądu maksymalnego | http://datasheet.lovatoelectric.com/Monitoring_relays/POL/PMA20240.pdf | Current monitoring relay for single-phase system, AC/DC maximum current control, 5A or 16A | http://datasheet.lovatoelectric.com/Monitoring_relays/RON/PMA20240.pdf
PMA30240 | PMA30240.jpg | http://datasheet.lovatoelectric.com/Monitoring_relays/products_images/PMA30240.jpg | Current monitoring relay for single-phase system, AC/DC minimum or maximum current control, 5A or 16A | http://datasheet.lovatoelectric.com/Monitoring_relays/ENG/PMA30240.pdf | Relè amperometrico per sistema monofase, minima o massima corrente AC/DC, 5A o 16A | http://datasheet.lovatoelectric.com/Monitoring_relays/ITA/PMA30240.pdf | Przekaźnik nadzoru prądu mak. lub min. | http://datasheet.lovatoelectric.com/Monitoring_relays/POL/PMA30240.pdf | Current monitoring relay for single-phase system, AC/DC minimum or maximum current control, 5A or 16A | http://datasheet.lovatoelectric.com/Monitoring_relays/RON/PMA30240.pdf
PMA40240 | PMA40240.jpg | http://datasheet.lovatoelectric.com/Monitoring_relays/products_images/PMA40240.jpg | Current monitoring relay for single-phase and three-phase systems, AC/DC minimum and maximum current control, 0.02 - 0.05 - 0.25 - 1 - 5 - 16A | http://datasheet.lovatoelectric.com/Monitoring_relays/ENG/PMA40240.pdf | Relè amperometrico per sistema monofase e trifase, minima e massima corrente AC/DC, 0,02 - 0,05 - 0,25 - 1 - 5 - 16A | http://datasheet.lovatoelectric.com/Monitoring_relays/ITA/PMA40240.pdf | Przekaźnik nadzorczy prądu, do układów jednofazowych i trójfazowych, prąd minimalny i maksymalny AC/DC, skala prądu znamionowego: 0.02 - 0.05 - 0.25 - 1 - 5 – 16A | http://datasheet.lovatoelectric.com/Monitoring_relays/POL/PMA40240.pdf | Releu de monitorizare a curentului pentru sisteme monofazate și trifazate, control curent minim și maxim AC/DC, 0,02 - 0,05 - 0,25 - 1 - 5 - 16A | http://datasheet.lovatoelectric.com/Monitoring_relays/RON/PMA40240.pdf
PMA50A240 | PMA50A480.jpg | http://datasheet.lovatoelectric.com/Monitoring_relays/products_images/PMA50A480.jpg | Pump protection relay for single and three-phase systems, maximum AC current and minimum COSΦ. Phase loss and incorrect phase sequence, 5A or 16A | http://datasheet.lovatoelectric.com/Monitoring_relays/ENG/PMA50A240.pdf | Relè protezione pompe per sistema monofase e trifase, massima corrente AC e minimo COSΦ. Mancanza fase ed errata sequenza fasi, 5A o 16A | http://datasheet.lovatoelectric.com/Monitoring_relays/ITA/PMA50A240.pdf | Przekaźnik nadzoru pompy, 220-240VAC | http://datasheet.lovatoelectric.com/Monitoring_relays/POL/PMA50A240.pdf | Pump protection relay for single and three-phase systems, maximum AC current and minimum COSΦ. Phase loss and incorrect phase sequence, 5A or 16A | http://datasheet.lovatoelectric.com/Monitoring_relays/RON/PMA50A240.pdf
PMA50A415 | PMA50A480.jpg | http://datasheet.lovatoelectric.com/Monitoring_relays/products_images/PMA50A480.jpg | Pump protection relay for single and three-phase systems, maximum AC current and minimum COSΦ. Phase loss and incorrect phase sequence, 5A or 16A | http://datasheet.lovatoelectric.com/Monitoring_relays/ENG/PMA50A415.pdf | Relè protezione pompe per sistema monofase e trifase, massima corrente AC e minimo COSΦ. Mancanza fase ed errata sequenza fasi, 5A o 16A | http://datasheet.lovatoelectric.com/Monitoring_relays/ITA/PMA50A415.pdf | Przekaźnik nadzoru pompy, 380-415VAC | http://datasheet.lovatoelectric.com/Monitoring_relays/POL/PMA50A415.pdf | Pump protection relay for single and three-phase systems, maximum AC current and minimum COSΦ. Phase loss and incorrect phase sequence, 5A or 16A | http://datasheet.lovatoelectric.com/Monitoring_relays/RON/PMA50A415.pdf
PMA50A480 | PMA50A480.jpg | http://datasheet.lovatoelectric.com/Monitoring_relays/products_images/PMA50A480.jpg | Pump protection relay for single and three-phase systems, maximum AC current and minimum COSΦ. Phase loss and incorrect phase sequence, 5A or 16A | http://datasheet.lovatoelectric.com/Monitoring_relays/ENG/PMA50A480.pdf | Relè protezione pompe per sistema monofase e trifase, massima corrente AC e minimo COSΦ. Mancanza fase ed errata sequenza fasi, 5A o 16A | http://datasheet.lovatoelectric.com/Monitoring_relays/ITA/PMA50A480.pdf | Przekaźnik nadzoru pompy, 440-480VAC | http://datasheet.lovatoelectric.com/Monitoring_relays/POL/PMA50A480.pdf | Pump protection relay for single and three-phase systems, maximum AC current and minimum COSΦ. Phase loss and incorrect phase sequence, 5A or 16A | http://datasheet.lovatoelectric.com/Monitoring_relays/RON/PMA50A480.pdf
PMF20A240 | PMF20A240.jpg | http://datasheet.lovatoelectric.com/Monitoring_relays/products_images/PMF20A240.jpg | Frequency monitoring relay for single and three-phase systems, minimum and maximum frequency, 220...240VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ENG/PMF20A240.pdf | Relè frequenziometrico per sistema monofase e trifase, minima e massima frequenza, 220...240VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ITA/PMF20A240.pdf | Przekaźnik nadzorczy częstotliwości | http://datasheet.lovatoelectric.com/Monitoring_relays/POL/PMF20A240.pdf | Frequency monitoring relay for single and three-phase systems, minimum and maximum frequency, 220...240VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/RON/PMF20A240.pdf
PMF20A415 | PMF20A415.jpg | http://datasheet.lovatoelectric.com/Monitoring_relays/products_images/PMF20A415.jpg | Frequency monitoring relay for single and three-phase systems, minimum and maximum frequency, 380...415VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ENG/PMF20A415.pdf | Relè frequenziometrico per sistema monofase e trifase, minima e massima frequenza, 380...415VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ITA/PMF20A415.pdf | Przekaźnik nadzorczy częstotliwości | http://datasheet.lovatoelectric.com/Monitoring_relays/POL/PMF20A415.pdf | Frequency monitoring relay for single and three-phase systems, minimum and maximum frequency, 380...415VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/RON/PMF20A415.pdf
PMIB1A230 | PMIB1A230.jpg | http://datasheet.lovatoelectric.com/Monitoring_relays/products_images/PMIB1A230.jpg | Insulation monitoring relay for IT networks up to 230VAC, 1 adjustable intervention threshold | http://datasheet.lovatoelectric.com/Monitoring_relays/ENG/PMIB1A230.pdf | Relè per il controllo dell'isolamento per reti IT fino a 230VAC, 1 soglia di intervento | http://datasheet.lovatoelectric.com/Monitoring_relays/ITA/PMIB1A230.pdf | Insulation monitoring relay for IT networks up to 230VAC, 1 adjustable intervention threshold | http://datasheet.lovatoelectric.com/Monitoring_relays/POL/PMIB1A230.pdf | Insulation monitoring relay for IT networks up to 230VAC, 1 adjustable intervention threshold | http://datasheet.lovatoelectric.com/Monitoring_relays/RON/PMIB1A230.pdf
PMV10A440 | PMV10A440.jpg | http://datasheet.lovatoelectric.com/Monitoring_relays/products_images/PMV10A440.jpg | Voltage monitoring realy for three-phase system, without neutral, phase loss and incorrect phase sequence, 208...480VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ENG/PMV10A440.pdf | Relè voltmetrico per sistema trifase senza neutro, mancanza fase ed errata sequenza fasi, 208...480VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ITA/PMV10A440.pdf | Przekaźnik nadzoru kolejności i zaniku fazy, 208÷480VAC, 1U | http://datasheet.lovatoelectric.com/Monitoring_relays/POL/PMV10A440.pdf | Voltage monitoring realy for three-phase system, without neutral, phase loss and incorrect phase sequence, 208...480VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/RON/PMV10A440.pdf
PMV20A240 | PMV20A240.jpg | http://datasheet.lovatoelectric.com/Monitoring_relays/products_images/PMV20A240.jpg | Voltage monitoring realy for three-phase system, without neutral, phase loss and incorrect phase sequence, 100...240VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ENG/PMV20A240.pdf | Relè voltmetrico per sistema trifase senza neutro, mancanza fase ed errata sequenza fasi, 100...240VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ITA/PMV20A240.pdf | Przekaźnik nadzorczy napięcia, kolejność i zanik fazy, 100-240VAC, 2U | http://datasheet.lovatoelectric.com/Monitoring_relays/POL/PMV20A240.pdf | Voltage monitoring realy for three-phase system, without neutral, phase loss and incorrect phase sequence, 100...240VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/RON/PMV20A240.pdf
PMV20A575 | PMV20A240.jpg | http://datasheet.lovatoelectric.com/Monitoring_relays/products_images/PMV20A240.jpg | Voltage monitoring realy for three-phase system, without neutral, phase loss and incorrect phase sequence, 208...575VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ENG/PMV20A575.pdf | Relè voltmetrico per sistema trifase senza neutro, mancanza fase ed errata sequenza fasi, 208...575VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ITA/PMV20A575.pdf | Przekaźnik nadzorczy napięcia, kolejność i zanik fazy, 208÷575VAC, 2U | http://datasheet.lovatoelectric.com/Monitoring_relays/POL/PMV20A575.pdf | Voltage monitoring realy for three-phase system, without neutral, phase loss and incorrect phase sequence, 208...575VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/RON/PMV20A575.pdf
PMV20A600 | PMV20A240.jpg | http://datasheet.lovatoelectric.com/Monitoring_relays/products_images/PMV20A240.jpg | Voltage monitoring realy for three-phase system, without neutral, phase loss and incorrect phase sequence, 380...600VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ENG/PMV20A600.pdf | Relè voltmetrico per sistema trifase senza neutro, mancanza fase ed errata sequenza fasi, 380...600VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ITA/PMV20A600.pdf | Przekaźnik nadzorczy napięcia, kolejność i zanik fazy, 380÷600VAC, 2U | http://datasheet.lovatoelectric.com/Monitoring_relays/POL/PMV20A600.pdf | Voltage monitoring realy for three-phase system, without neutral, phase loss and incorrect phase sequence, 380...600VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/RON/PMV20A600.pdf
PMV30A240 | PMV30A240.jpg | http://datasheet.lovatoelectric.com/Monitoring_relays/products_images/PMV30A240.jpg | Voltage monitoring realy for three-phase system, without neutral, minimum AC voltage. Phase loss and incorrect phase sequence, 208...240VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ENG/PMV30A240.pdf | Relè voltmetrico per sistema trifase senza neutro, minima tensioneAC. Mancanza fase ed errata sequenza fasi, 208...240VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ITA/PMV30A240.pdf | Przekaźnik nadzorczy napięcia, wartość minimalna, kolejność faz, zanik fazy 208÷240VAC | http://datasheet.lovatoelectric.com/Monitoring_relays/POL/PMV30A240.pdf | Voltage monitoring realy for three-phase system, without neutral, minimum AC voltage. Phase loss and incorrect phase sequence, 208...240VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/RON/PMV30A240.pdf
PMV30A575 | PMV30A240.jpg | http://datasheet.lovatoelectric.com/Monitoring_relays/products_images/PMV30A240.jpg | Voltage monitoring realy for three-phase system, without neutral, minimum AC voltage. Phase loss and incorrect phase sequence, 380...575VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ENG/PMV30A575.pdf | Relè voltmetrico per sistema trifase senza neutro, minima tensioneAC. Mancanza fase ed errata sequenza fasi, 380...575VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ITA/PMV30A575.pdf | Przekaźnik nadzorczy napięcia, wartość minimalna, kolejność faz, zanik fazy 380÷575VAC | http://datasheet.lovatoelectric.com/Monitoring_relays/POL/PMV30A575.pdf | Voltage monitoring realy for three-phase system, without neutral, minimum AC voltage. Phase loss and incorrect phase sequence, 380...575VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/RON/PMV30A575.pdf
PMV30A600 | PMV30A240.jpg | http://datasheet.lovatoelectric.com/Monitoring_relays/products_images/PMV30A240.jpg | Voltage monitoring realy for three-phase system, without neutral, minimum AC voltage. Phase loss and incorrect phase sequence, 600VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ENG/PMV30A600.pdf | Relè voltmetrico per sistema trifase senza neutro, minima tensioneAC. Mancanza fase ed errata sequenza fasi, 600VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ITA/PMV30A600.pdf | Przekaźnik nadzorczy napięcia, wartość minimalna, kolejność faz, zanik fazy, 600VAC | http://datasheet.lovatoelectric.com/Monitoring_relays/POL/PMV30A600.pdf | Voltage monitoring realy for three-phase system, without neutral, minimum AC voltage. Phase loss and incorrect phase sequence, 600VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/RON/PMV30A600.pdf
PMV40A240 | PMV40A240.jpg | http://datasheet.lovatoelectric.com/Monitoring_relays/products_images/PMV40A240.jpg | Voltage monitoring realy for three-phase system, without neutral, asymmetry. Phase loss and incorrect phase sequence, 208...240VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ENG/PMV40A240.pdf | Relè voltmetrico per sistema trifase senza neutro, errata asimmetria. Mancanza fase ed errata sequenza fasi, 208...240VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ITA/PMV40A240.pdf | Przekaźnik nadzorczy napięcia, asymetria napięć, kolejność faz, zanik fazy, 208÷240VAC | http://datasheet.lovatoelectric.com/Monitoring_relays/POL/PMV40A240.pdf | Voltage monitoring realy for three-phase system, without neutral, asymmetry. Phase loss and incorrect phase sequence, 208...240VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/RON/PMV40A240.pdf
PMV40A575 | PMV40A240.jpg | http://datasheet.lovatoelectric.com/Monitoring_relays/products_images/PMV40A240.jpg | Voltage monitoring realy for three-phase system, without neutral, asymmetry. Phase loss and incorrect phase sequence, 380...575VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ENG/PMV40A575.pdf | Relè voltmetrico per sistema trifase senza neutro, errata asimmetria. Mancanza fase ed errata sequenza fasi, 380...575VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ITA/PMV40A575.pdf | Przekaźnik nadzorczy napięcia, asymetria napięć, kolejność faz, zanik fazy, 380÷575VAC | http://datasheet.lovatoelectric.com/Monitoring_relays/POL/PMV40A575.pdf | Voltage monitoring realy for three-phase system, without neutral, asymmetry. Phase loss and incorrect phase sequence, 380...575VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/RON/PMV40A575.pdf
PMV40A600 | PMV40A240.jpg | http://datasheet.lovatoelectric.com/Monitoring_relays/products_images/PMV40A240.jpg | Voltage monitoring realy for three-phase system, without neutral, asymmetry. Phase loss and incorrect phase sequence, 600VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ENG/PMV40A600.pdf | Relè voltmetrico per sistema trifase senza neutro, errata asimmetria. Mancanza fase ed errata sequenza fasi, 600VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ITA/PMV40A600.pdf | Przekaźnik nadzorczy napięcia, asymetria napięć, kolejność faz, zanik fazy, 600VAC | http://datasheet.lovatoelectric.com/Monitoring_relays/POL/PMV40A600.pdf | Voltage monitoring realy for three-phase system, without neutral, asymmetry. Phase loss and incorrect phase sequence, 600VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/RON/PMV40A600.pdf
PMV50A240 | PMV50A240.jpg | http://datasheet.lovatoelectric.com/Monitoring_relays/products_images/PMV50A240.jpg | Voltage monitoring realy for three-phase system, without neutral, minimum and maximum AC voltage. Phase loss and incorrect phase sequence, 208...240VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ENG/PMV50A240.pdf | Relè voltmetrico per sistema trifase senza neutro, minima e massima tensione AC. Mancanza fase ed errata sequenza fasi, 208...240VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ITA/PMV50A240.pdf | Przekaźnik nadzorczy napięcia, min/max napięcie, kolejność faz, zanik fazy, 208÷240VAC | http://datasheet.lovatoelectric.com/Monitoring_relays/POL/PMV50A240.pdf | Voltage monitoring realy for three-phase system, without neutral, minimum and maximum AC voltage. Phase loss and incorrect phase sequence, 208...240VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/RON/PMV50A240.pdf
PMV50A575 | PMV50A240.jpg | http://datasheet.lovatoelectric.com/Monitoring_relays/products_images/PMV50A240.jpg | Voltage monitoring realy for three-phase system, without neutral, minimum and maximum AC voltage. Phase loss and incorrect phase sequence, 380...575VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ENG/PMV50A575.pdf | Relè voltmetrico per sistema trifase senza neutro, minima e massima tensione AC. Mancanza fase ed errata sequenza fasi, 380...575VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ITA/PMV50A575.pdf | Przekaźnik nadzorczy napięcia, min/max napięcie, kolejność faz, zanik fazy, 380÷575VAC | http://datasheet.lovatoelectric.com/Monitoring_relays/POL/PMV50A575.pdf | Voltage monitoring realy for three-phase system, without neutral, minimum and maximum AC voltage. Phase loss and incorrect phase sequence, 380...575VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/RON/PMV50A575.pdf
PMV50A600 | PMV50A240.jpg | http://datasheet.lovatoelectric.com/Monitoring_relays/products_images/PMV50A240.jpg | Voltage monitoring realy for three-phase system, without neutral, minimum and maximum AC voltage. Phase loss and incorrect phase sequence, 600VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ENG/PMV50A600.pdf | Relè voltmetrico per sistema trifase senza neutro, minima e massima tensione AC. Mancanza fase ed errata sequenza fasi, 600VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ITA/PMV50A600.pdf | Przekaźnik nadzorczy napięcia, min/max napięcie, kolejność faz, zanik fazy, 600VAC | http://datasheet.lovatoelectric.com/Monitoring_relays/POL/PMV50A600.pdf | Voltage monitoring realy for three-phase system, without neutral, minimum and maximum AC voltage. Phase loss and incorrect phase sequence, 600VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/RON/PMV50A600.pdf
PMV50NA240 | PMV50NA240.jpg | http://datasheet.lovatoelectric.com/Monitoring_relays/products_images/PMV50NA240.jpg | Voltage monitoring realy for three-phase system, with or without neutral, minimum and maximum AC voltage. Phase loss, neutral loss and incorrect phase sequence, 208...240VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ENG/PMV50NA240.pdf | Relè voltmetrico per sistema trifase con o senza neutro, minima e massima tensione AC. Mancanza fase, mancanza neutro ed errata sequenza fasi, 208...240VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ITA/PMV50NA240.pdf | Przekaźnik nadzorczy napięcia, min/max, zanik fazy, niewłaściwa kolejność faz, 120÷138/208÷240VAC | http://datasheet.lovatoelectric.com/Monitoring_relays/POL/PMV50NA240.pdf | Voltage monitoring realy for three-phase system, with or without neutral, minimum and maximum AC voltage. Phase loss, neutral loss and incorrect phase sequence, 208...240VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/RON/PMV50NA240.pdf
PMV50NA440 | PMV50NA240.jpg | http://datasheet.lovatoelectric.com/Monitoring_relays/products_images/PMV50NA240.jpg | Voltage monitoring realy for three-phase system, with or without neutral, minimum and maximum AC voltage. Phase loss, neutral loss and incorrect phase sequence, 380…440VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ENG/PMV50NA440.pdf | Relè voltmetrico per sistema trifase con o senza neutro, minima e massima tensione AC. Mancanza fase, mancanza neutro ed errata sequenza fasi, 380...440VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ITA/PMV50NA440.pdf | Przekaźnik nadzorczy napięcia, min/max, zanik fazy, niewłaściwa kolejność faz, 220÷254/380÷440VAC | http://datasheet.lovatoelectric.com/Monitoring_relays/POL/PMV50NA440.pdf | Voltage monitoring realy for three-phase system, with or without neutral, minimum and maximum AC voltage. Phase loss, neutral loss and incorrect phase sequence, 380…440VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/RON/PMV50NA440.pdf
PMV50NA600 | PMV50NA240.jpg | http://datasheet.lovatoelectric.com/Monitoring_relays/products_images/PMV50NA240.jpg | Voltage monitoring realy for three-phase system, with or without neutral, minimum and maximum AC voltage. Phase loss, neutral loss and incorrect phase sequence, 480...600VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ENG/PMV50NA600.pdf | Relè voltmetrico per sistema trifase con o senza neutro, minima e massima tensione AC. Mancanza fase, mancanza neutro ed errata sequenza fasi, 480...600VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ITA/PMV50NA600.pdf | Przekaźnik nadzorczy napięcia, min/max, zanik fazy, niewłaściwa kolejność faz, 277÷347/480÷600VAC | http://datasheet.lovatoelectric.com/Monitoring_relays/POL/PMV50NA600.pdf | Voltage monitoring realy for three-phase system, with or without neutral, minimum and maximum AC voltage. Phase loss, neutral loss and incorrect phase sequence, 480...600VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/RON/PMV50NA600.pdf
PMV55A127 |  |  |  | http://datasheet.lovatoelectric.com/Monitoring_relays/ENG/PMV55A127.pdf |  | http://datasheet.lovatoelectric.com/Monitoring_relays/ITA/PMV55A127.pdf |  | http://datasheet.lovatoelectric.com/Monitoring_relays/POL/PMV55A127.pdf |  | http://datasheet.lovatoelectric.com/Monitoring_relays/RON/PMV55A127.pdf
PMV55A240 | PMV55A240.jpg | http://datasheet.lovatoelectric.com/Monitoring_relays/products_images/PMV55A240.jpg | Voltage monitoring relay for single-phase system, minimum and maximum AC voltage, 208...240VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ENG/PMV55A240.pdf | Relè voltmetrico per sistema monofase, minima e massima tensione AC, 208...240VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ITA/PMV55A240.pdf | Przekaźnik nadzoru napięcia 1-fazowego | http://datasheet.lovatoelectric.com/Monitoring_relays/POL/PMV55A240.pdf | Voltage monitoring relay for single-phase system, minimum and maximum AC voltage, 208...240VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/RON/PMV55A240.pdf
PMV55A440 | PMV55A240.jpg | http://datasheet.lovatoelectric.com/Monitoring_relays/products_images/PMV55A240.jpg | Voltage monitoring relay for single-phase system, minimum and maximum AC voltage, 380...575VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ENG/PMV55A440.pdf | Relè voltmetrico per sistema monofase, minima e massima tensione AC, 380...440VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ITA/PMV55A440.pdf | Przekaźnik nadzoru napięcia 1-fazowego | http://datasheet.lovatoelectric.com/Monitoring_relays/POL/PMV55A440.pdf | Voltage monitoring relay for single-phase system, minimum and maximum AC voltage, 380...575VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/RON/PMV55A440.pdf
PMV70A240 | PMV70A240.jpg | http://datasheet.lovatoelectric.com/Monitoring_relays/products_images/PMV70A240.jpg | Voltage monitoring realy for three-phase system, without neutral, minimum and maximum AC voltage and asymmetry. Phase loss and incorrect phase sequence, 208...240VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ENG/PMV70A240.pdf | Relè voltmetrico per sistema trifase senza neutro, minima e massima tensione AC ed asimmetria. Mancanza fase ed errata sequenza fasi, 208...240VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ITA/PMV70A240.pdf | Przekaźnik nadzorczy napięcia, min/max, asymetria napięć, kolejność i zanik fazy, 208÷240VAC | http://datasheet.lovatoelectric.com/Monitoring_relays/POL/PMV70A240.pdf | Voltage monitoring realy for three-phase system, without neutral, minimum and maximum AC voltage and asymmetry. Phase loss and incorrect phase sequence, 208...240VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/RON/PMV70A240.pdf
PMV70A575 | PMV70A240.jpg | http://datasheet.lovatoelectric.com/Monitoring_relays/products_images/PMV70A240.jpg | Voltage monitoring realy for three-phase system, without neutral, minimum and maximum AC voltage and asymmetry. Phase loss and incorrect phase sequence, 380...575VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ENG/PMV70A575.pdf | Relè voltmetrico per sistema trifase senza neutro, minima e massima tensione AC ed asimmetria. Mancanza fase ed errata sequenza fasi, 380...575VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ITA/PMV70A575.pdf | Przekaźnik nadzorczy napięcia, min/max, asymetria napięć, kolejność i zanik fazy, 380÷575VAC | http://datasheet.lovatoelectric.com/Monitoring_relays/POL/PMV70A575.pdf | Voltage monitoring realy for three-phase system, without neutral, minimum and maximum AC voltage and asymmetry. Phase loss and incorrect phase sequence, 380...575VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/RON/PMV70A575.pdf
PMV70A600 | PMV70A240.jpg | http://datasheet.lovatoelectric.com/Monitoring_relays/products_images/PMV70A240.jpg | Voltage monitoring realy for three-phase system, without neutral, minimum and maximum AC voltage and asymmetry. Phase loss and incorrect phase sequence, 600VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ENG/PMV70A600.pdf | Relè voltmetrico per sistema trifase senza neutro, minima e massima tensione AC ed asimmetria. Mancanza fase ed errata sequenza fasi, 600VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ITA/PMV70A600.pdf | Przekaźnik nadzorczy napięcia, min/max, asymetria napięć, kolejność i zanik fazy, 600VAC | http://datasheet.lovatoelectric.com/Monitoring_relays/POL/PMV70A600.pdf | Voltage monitoring realy for three-phase system, without neutral, minimum and maximum AC voltage and asymmetry. Phase loss and incorrect phase sequence, 600VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/RON/PMV70A600.pdf
PMV70NA240 | PMV70NA240.jpg | http://datasheet.lovatoelectric.com/Monitoring_relays/products_images/PMV70NA240.jpg | Voltage monitoring realy for three-phase system, with or without neutral, minimum and maximum AC voltage and asymmetry. Phase loss, neutral loss and incorrect phase sequence, 208...240VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ENG/PMV70NA240.pdf | Relè voltmetrico per sistema trifase con o senza neutro, minima e massima tensione AC ed asimmetria. Mancanza fase, mancanza neutro ed errata sequenza fasi, 208...240VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ITA/PMV70NA240.pdf | Przekaźnik nadzorczy napięcia, min/max, zanik fazy, niewłaściwa kolejność faz, asymetria, 120÷138/208÷240VAC | http://datasheet.lovatoelectric.com/Monitoring_relays/POL/PMV70NA240.pdf | Voltage monitoring realy for three-phase system, with or without neutral, minimum and maximum AC voltage and asymmetry. Phase loss, neutral loss and incorrect phase sequence, 208...240VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/RON/PMV70NA240.pdf
PMV70NA440 | PMV70NA240.jpg | http://datasheet.lovatoelectric.com/Monitoring_relays/products_images/PMV70NA240.jpg | Voltage monitoring realy for three-phase system, with or without neutral, minimum and maximum AC voltage and asymmetry. Phase loss, neutral loss and incorrect phase sequence, 380...575VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ENG/PMV70NA440.pdf | Relè voltmetrico per sistema trifase con o senza neutro, minima e massima tensione AC ed asimmetria. Mancanza fase, mancanza neutro ed errata sequenza fasi, 380...440VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ITA/PMV70NA440.pdf | Przekaźnik nadzorczy napięcia, min/max, zanik fazy, niewłaściwa kolejność faz, asymetria, 220÷254/380÷440VAC | http://datasheet.lovatoelectric.com/Monitoring_relays/POL/PMV70NA440.pdf | Voltage monitoring realy for three-phase system, with or without neutral, minimum and maximum AC voltage and asymmetry. Phase loss, neutral loss and incorrect phase sequence, 380...575VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/RON/PMV70NA440.pdf
PMV70NA600 | PMV70NA240.jpg | http://datasheet.lovatoelectric.com/Monitoring_relays/products_images/PMV70NA240.jpg | Voltage monitoring realy for three-phase system, with or without neutral, minimum and maximum AC voltage and asymmetry. Phase loss, neutral loss and incorrect phase sequence, 480...600VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ENG/PMV70NA600.pdf | Relè voltmetrico per sistema trifase con o senza neutro, minima e massima tensione AC ed asimmetria. Mancanza fase, mancanza neutro ed errata sequenza fasi, 480...600VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ITA/PMV70NA600.pdf | Przekaźnik nadzorczy napięcia, min/max, zanik fazy, niewłaściwa kolejność faz, asymetria, 277÷347/480÷600VAC | http://datasheet.lovatoelectric.com/Monitoring_relays/POL/PMV70NA600.pdf | Voltage monitoring realy for three-phase system, with or without neutral, minimum and maximum AC voltage and asymmetry. Phase loss, neutral loss and incorrect phase sequence, 480...600VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/RON/PMV70NA600.pdf
PMV80NA240 | PMV80NA240.jpg | http://datasheet.lovatoelectric.com/Monitoring_relays/products_images/PMV80NA240.jpg | Voltage monitoring realy for three-phase system, with or without neutral, minimum and maximum AC voltage, minimum and maximum frequency. Phase loss, neutral loss and incorrect phase sequence, 208...240VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ENG/PMV80NA240.pdf | Relè voltmetrico per sistema trifase con o senza neutro, minima e massima tensione AC, minima e massima frequenza. Mancanza fase, mancanza neutro ed errata sequenza fasi, 208...240VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ITA/PMV80NA240.pdf | Przekaźnik nadzorczy napięcia i częstotliwości min/max, zanik fazy, niewłaściwa kolejność faz, 120÷138/208÷240VAC | http://datasheet.lovatoelectric.com/Monitoring_relays/POL/PMV80NA240.pdf | Voltage monitoring realy for three-phase system, with or without neutral, minimum and maximum AC voltage, minimum and maximum frequency. Phase loss, neutral loss and incorrect phase sequence, 208...240VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/RON/PMV80NA240.pdf
PMV80NA440 | PMV80NA240.jpg | http://datasheet.lovatoelectric.com/Monitoring_relays/products_images/PMV80NA240.jpg | Voltage monitoring realy for three-phase system, with or without neutral, minimum and maximum AC voltage, minimum and maximum frequency. Phase loss, neutral loss and incorrect phase sequence, 380...575VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ENG/PMV80NA440.pdf | Relè voltmetrico per sistema trifase con o senza neutro, minima e massima tensione AC, minima e massima frequenza. Mancanza fase, mancanza neutro ed errata sequenza fasi, 380...440VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ITA/PMV80NA440.pdf | Przekaźnik nadzorczy napięcia i częstotliwości min/max, zanik fazy, niewłaściwa kolejność faz, 220÷254/380÷440VAC | http://datasheet.lovatoelectric.com/Monitoring_relays/POL/PMV80NA440.pdf | Voltage monitoring realy for three-phase system, with or without neutral, minimum and maximum AC voltage, minimum and maximum frequency. Phase loss, neutral loss and incorrect phase sequence, 380...575VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/RON/PMV80NA440.pdf
PMV80NA600 | PMV80NA240.jpg | http://datasheet.lovatoelectric.com/Monitoring_relays/products_images/PMV80NA240.jpg | Voltage monitoring realy for three-phase system, with or without neutral, minimum and maximum AC voltage, minimum and maximum frequency. Phase loss, neutral loss and incorrect phase sequence, 480...600VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ENG/PMV80NA600.pdf | Relè voltmetrico per sistema trifase con o senza neutro, minima e massima tensione AC, minima e massima frequenza. Mancanza fase, mancanza neutro ed errata sequenza fasi, 480...600VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ITA/PMV80NA600.pdf | Przekaźnik nadzorczy napięcia i częstotliwości min/max, zanik fazy, niewłaściwa kolejność faz, 277÷347/480÷600VAC | http://datasheet.lovatoelectric.com/Monitoring_relays/POL/PMV80NA600.pdf | Voltage monitoring realy for three-phase system, with or without neutral, minimum and maximum AC voltage, minimum and maximum frequency. Phase loss, neutral loss and incorrect phase sequence, 480...600VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/RON/PMV80NA600.pdf
PMV95NA240NFC | PMV95NA240NFC.jpg | http://datasheet.lovatoelectric.com/Monitoring_relays/products_images/PMV95NA240NFC.jpg | Multifunction voltage and frequency monitoring relay for three-phase systems with or without neutral with NFC technology and App. 208...240VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ENG/PMV95NA240NFC.pdf | Relè multifunzione voltmetrico e frequenziometrico per sistemi trifase con o senza neutro con tecnologia NFC e App. 208...240VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ITA/PMV95NA240NFC.pdf | Wielofunkcyjny przekaźnik nadzorczy napięcia i częstotliwości z komunikacją NFC. Napięcie kontrolowane: 208...240VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/POL/PMV95NA240NFC.pdf | Multifunction voltage and frequency monitoring relay for three-phase systems with or without neutral with NFC technology and App. 208...240VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/RON/PMV95NA240NFC.pdf
PMV95NA575NFC | PMV95NA240NFC.jpg | http://datasheet.lovatoelectric.com/Monitoring_relays/products_images/PMV95NA240NFC.jpg | Multifunction voltage and frequency monitoring relay for three-phase systems with or without neutral with NFC technology and App. 380...575VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ENG/PMV95NA575NFC.pdf | Relè multifunzione voltmetrico e frequenziometrico per sistemi trifase con o senza neutro con tecnologia NFC e App. 380...575VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/ITA/PMV95NA575NFC.pdf | Wielofunkcyjny przekaźnik nadzorczy napięcia i częstotliwości z komunikacją NFC. Napięcie kontrolowane: 380...575VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/POL/PMV95NA575NFC.pdf | Multifunction voltage and frequency monitoring relay for three-phase systems with or without neutral with NFC technology and App. 380...575VAC 50/60Hz | http://datasheet.lovatoelectric.com/Monitoring_relays/RON/PMV95NA575NFC.pdf
PMVF30 | PMVF30.jpg | http://datasheet.lovatoelectric.com/Monitoring_relays/products_images/PMVF30.jpg | Interface protection system unit compliant with italian standard CEI 0-16, for MV system, dual threshold minimum and maximum voltage and frequency protection, measurements via VTS in MV or direct in LV | http://datasheet.lovatoelectric.com/Monitoring_relays/ENG/PMVF30.pdf | Protezione di interfaccia conforme norma CEI 0-16 per sistemi di media tensione, protezione di minima e massima tensione a doppia soglia, minima e massima frequenza a doppia soglia, sblocco voltmetrico, misure tramite TV in MT o dirette in BT | http://datasheet.lovatoelectric.com/Monitoring_relays/ITA/PMVF30.pdf | Przekaźnik nadzorczy napięcia min/maks. i częstotliwości, dwa progi zadziałania, obudowa 96x96mm, zasilanie AC/DC | http://datasheet.lovatoelectric.com/Monitoring_relays/POL/PMVF30.pdf | Interface protection system unit compliant with italian standard CEI 0-16, for MV system, dual threshold minimum and maximum voltage and frequency protection, measurements via VTS in MV or direct in LV | http://datasheet.lovatoelectric.com/Monitoring_relays/RON/PMVF30.pdf
PMVF30D048 | PMVF30.jpg | http://datasheet.lovatoelectric.com/Monitoring_relays/products_images/PMVF30.jpg | Interface protection system unit compliant with italian standard CEI 0-16, for MV system, dual threshold minimum and maximum voltage and frequency protection, measurements via VTS in MV or direct in LV | http://datasheet.lovatoelectric.com/Monitoring_relays/ENG/PMVF30D048.pdf | Protezione di interfaccia conforme norma CEI 0-16 per sistemi di media tensione, protezione di minima e massima tensione a doppia soglia, minima e massima frequenza a doppia soglia, sblocco voltmetrico, misure tramite TV in MT o dirette in BT | http://datasheet.lovatoelectric.com/Monitoring_relays/ITA/PMVF30D048.pdf | Przekaźnik nadzorczy napięcia min/maks. i częstotliwości, dwa progi zadziałania, obudowa 96x96mm, zasilanie DC | http://datasheet.lovatoelectric.com/Monitoring_relays/POL/PMVF30D048.pdf | Interface protection system unit compliant with italian standard CEI 0-16, for MV system, dual threshold minimum and maximum voltage and frequency protection, measurements via VTS in MV or direct in LV | http://datasheet.lovatoelectric.com/Monitoring_relays/RON/PMVF30D048.pdf
PMVF51 | PMVF51.jpg | http://datasheet.lovatoelectric.com/Monitoring_relays/products_images/PMVF51.jpg | Interface protection unit compliant with italian standard CEI 0-21, for single-phase and three-phase system, with or without neutral, in low voltage, dual threshold minimum and maximum voltage and frequency protection, 230VAC - 400VAC | http://datasheet.lovatoelectric.com/Monitoring_relays/ENG/PMVF51.pdf | Protezione di interfaccia conforme norma CEI 0-21 per sistema monofase e trifase con e senza neutro in bassa tensione, protezione di minima e massima tensione a doppia soglia, minima e massima frequenza a doppia soglia, 230VAC - 400VAC | http://datasheet.lovatoelectric.com/Monitoring_relays/ITA/PMVF51.pdf | Przekaźnik nadzoru napięcia i częstotliwości zgodny z wymogami włoskiej normy CEI 0-21, do układów jednofazowych i trójfazowych, z lub bez przewodu N, do układów nn, dwa progi ochrony dla minimalnego i maksymalnego napięcia i częstotliwości, funkcja ROCOF i przesunięcia fazowego, 230VAC - 400VAC | http://datasheet.lovatoelectric.com/Monitoring_relays/POL/PMVF51.pdf | RELEU INSULARIZARE, INTERFATA DE PROTECȚIE PENTRU SISTEME FOTOVOLTAICE, CONFORM CU STANDARDUL ITALIAN CEI 0-21, PENTRU SISTEM MONOFAZIC ȘI TRIFAZIC, CU SAU FĂRĂ NEUTRU, PENTRU JOASA TENSIUNE, PRAG DUAL MINIM ȘI MAXIM PENTRU TENSIUNE ȘI FRECVENȚA, 230 V AC – 400 V AC | http://datasheet.lovatoelectric.com/Monitoring_relays/RON/PMVF51.pdf
PMVF52 | PMVF52.jpg | http://datasheet.lovatoelectric.com/Monitoring_relays/products_images/PMVF52.jpg | Interface protection unit compliant with italian standard CEI 0-21, for single-phase and three-phase system, with or without neutral, in low voltage, dual threshold minimum and maximum voltage and frequency protection, 230VAC - 400VAC | http://datasheet.lovatoelectric.com/Monitoring_relays/ENG/PMVF52.pdf | Protezione di interfaccia conforme norma CEI 0-21 per sistema monofase e trifase con e senza neutro in bassa tensione, protezione di minima e massima tensione a doppia soglia, minima e massima frequenza a doppia soglia, 230VAC - 400VAC | http://datasheet.lovatoelectric.com/Monitoring_relays/ITA/PMVF52.pdf | Przekaźnik nadzoru napięcia i częstotliwości zgodny z wymogami włoskiej normy CEI 0-21, do układów jednofazowych i trójfazowych, z lub bez przewodu N, do układów nn, dwa progi ochrony dla minimalnego i maksymalnego napięcia i częstotliwości, funkcja ROCOF i przesunięcia fazowego, 230VAC - 400VAC | http://datasheet.lovatoelectric.com/Monitoring_relays/POL/PMVF52.pdf | RELEU INSULARIZARE, INTERFATA DE PROTECȚIE PENTRU SISTEME FOTOVOLTAICE, CONFORM CU STANDARDUL ITALIAN CEI 0-21, PENTRU SISTEM MONOFAZIC ȘI TRIFAZIC, CU SAU FĂRĂ NEUTRU, PENTRU JOASA TENSIUNE, PRAG DUAL MINIM ȘI MAXIM PENTRU TENSIUNE ȘI FRECVENȚA, 230 V AC – 400 V AC | http://datasheet.lovatoelectric.com/Monitoring_relays/RON/PMVF52.pdf
PMVF60 | PMVF60.jpg | http://datasheet.lovatoelectric.com/Monitoring_relays/products_images/PMVF60.jpg | Interface protection unit compliant with SHAMS DUBAI DRRG (DEWA) - SEC (Saudi Electricity Company) for three-phase system, with or without neutral, low and medium voltage, min and max voltage and frequency dual threshold protection, R.O.C.O.F and vector shift, 230VAC - 400VAC | http://datasheet.lovatoelectric.com/Monitoring_relays/ENG/PMVF60.pdf | Protezione di interfaccia conforme norma SHAMS DUBAI DRRG (DEWA) - SEC (Saudi Electricity Company), in bassa e media tensione, 230VAC - 400VAC | http://datasheet.lovatoelectric.com/Monitoring_relays/ITA/PMVF60.pdf | Przekaźnik nadzoru napięcia i częstotliwości zgodny z wymogami SHAMS DUBAI DRRG (DEWA) - SEC (Saudi Electricity Company), do układów trójfazowych, z lub bez przewodu N, do układów nn i SN, dwa progi ochrony dla minimalnego i maksymalnego napięcia i częstotliwości, funkcja ROCOF i przesunięcia fazowego, 230VAC - 400VAC | http://datasheet.lovatoelectric.com/Monitoring_relays/POL/PMVF60.pdf | Interface protection unit compliant with SHAMS DUBAI DRRG (DEWA) - SEC (Saudi Electricity Company) for three-phase system, with or without neutral, low and medium voltage, min and max voltage and frequency dual threshold protection, R.O.C.O.F and vector shift, 230VAC - 400VAC | http://datasheet.lovatoelectric.com/Monitoring_relays/RON/PMVF60.pdf
PMVF70 | PMVF70.jpg | http://datasheet.lovatoelectric.com/Monitoring_relays/products_images/PMVF70.jpg | Interface protection unit compliant with ENA (Energy Network Association) G59/G99 for three-phase system, with or without neutral, low and high voltage, min and max voltage and frequency dual threshold protection, R.O.C.O.F and vector shift, 230VAC - 400VAC | http://datasheet.lovatoelectric.com/Monitoring_relays/ENG/PMVF70.pdf | Protezione di interfaccia conforme ENA (energy network association) G59/G99 , in BT e MT, 230VAC - 400VAC | http://datasheet.lovatoelectric.com/Monitoring_relays/ITA/PMVF70.pdf | Przekaźnik nadzoru napięcia i częstotliwości zgodny z wymogami ENA (ENERGY NETWORK ASSOCIATION) G59/G99, do układów trójfazowych, z lub bez przewodu N, do układów nn i WN, dwa progi ochrony dla minimalnego i maksymalnego napięcia i częstotliwości, funkcja ROCOF i przesunięcia fazowego, 230VAC - 400VAC | http://datasheet.lovatoelectric.com/Monitoring_relays/POL/PMVF70.pdf | Interface protection unit compliant with ENA (Energy Network Association) G59/G99 for three-phase system, with or without neutral, low and high voltage, min and max voltage and frequency dual threshold protection, R.O.C.O.F and vector shift, 230VAC - 400VAC | http://datasheet.lovatoelectric.com/Monitoring_relays/RON/PMVF70.pdf
PMVF80 | PMVF80.jpg | http://datasheet.lovatoelectric.com/Monitoring_relays/products_images/PMVF80.jpg | Interface protection system compliant with VDE-AR-N 4105 and VDE V 0126-1-1 for three-phase system, with or without neutral, dual threshold minimum and maximum voltage and frequency protection, R.O.C.O.F. and vector shift | http://datasheet.lovatoelectric.com/Monitoring_relays/ENG/PMVF80.pdf | Protezione di interfaccia conforme alle norme VDE-AR-N 4105 e VDE V 0126-1-1 per sistema trifase con e senza neutro, protezione di minima e massima tensione a doppia soglia, minima e massima frequenza a doppia soglia, R.O.C.O.F. e vector shift. In Svizzera disponibile secondo NA/EEA-NE7 – CH 2020 | http://datasheet.lovatoelectric.com/Monitoring_relays/ITA/PMVF80.pdf | Przekaźnik nadzoru napięcia i częstotliwości zgodny z wymogami VDE-AR-N 4105 i VDE V 0126-1-1, do układów trójfazowych, z lub bez przewodu N, dwa progi ochrony dla minimalnego i maksymalnego napięcia i częstotliwości, funkcja ROCOF i przesunięcia fazowego | http://datasheet.lovatoelectric.com/Monitoring_relays/POL/PMVF80.pdf | RELEU INSULARIZARE, INTERFAȚA DE PROTECȚIE PENTRU SISTEME FOTOVOLTAICE, CONFORM CU STANDARDELE VDE-AR-N 4105 ȘI VDE V 0126-1-1 PENTRU SISTEMUL TRIFAZAT, CU SAU FĂRĂ NEUTRU, PROTECȚIE MINIMĂ ȘI MAXIMĂ PRIVIND TENSIUNEA ȘI FRECVENȚA, R.O.C.O.F. ȘI VECTOR SCHIMB | http://datasheet.lovatoelectric.com/Monitoring_relays/RON/PMVF80.pdf
PMVFUPS01 | PMVFUPS01.jpg | http://datasheet.lovatoelectric.com/Monitoring_relays/products_images/PMVFUPS01.jpg | Backup power supply for interface protection units PMVF… AC supplied. Input 230VAC, output 230VAC with stored energy 200Ws and power 250VA | http://datasheet.lovatoelectric.com/Monitoring_relays/ENG/PMVFUPS01.pdf | Alimentatore di backup per protezioni di interfaccia PMVF… alimentati in AC. Ingresso 230VAC, uscita 230VAC con energia accumulabile 200Ws e potenza 250VA | http://datasheet.lovatoelectric.com/Monitoring_relays/ITA/PMVFUPS01.pdf | Zasilacz podtrzymujący do przekaźników nadzoru napięcia i częstotliwości PMVF… z zasilaniem AC, wejście 230VAC, wyjście 230VAC, podtrzymanie 200Ws/250VA | http://datasheet.lovatoelectric.com/Monitoring_relays/POL/PMVFUPS01.pdf | SURSA DE ALIMENTARE DE REZERVA PENTRU INTERFETE DE PROTECȚIE A PMVF… ALIMENTARE AC. INTRARE 230VAC, IEȘIRE 230VAC CU ENERGIE STOCATĂ 200 Ws ȘI PUTERE 250 VA | http://datasheet.lovatoelectric.com/Monitoring_relays/RON/PMVFUPS01.pdf
PMVFX00 | PMVFX00.jpg | http://datasheet.lovatoelectric.com/Monitoring_relays/products_images/PMVFX00.jpg | Adapter for pre-existing cut-out consisting of 2 RAL7035 finish plates for 154x102.5mm/6.06x4.04” cut-out and fixing screws | http://datasheet.lovatoelectric.com/Monitoring_relays/ENG/PMVFX00.pdf | Adattatore per cut-out preesistente composto da 2 piastre di finitura RAL7035 per viti di taglio e fissaggio 154x102,5mm | http://datasheet.lovatoelectric.com/Monitoring_relays/ITA/PMVFX00.pdf | Adapter montażowy do istniejących otworów, komplet 2 płytek RAL 7035 do otworów 154x102.5mm/6.06x4.04” oraz wkręty | http://datasheet.lovatoelectric.com/Monitoring_relays/POL/PMVFX00.pdf | Adapter fsau pre-existing cutout consisting of 2 RAL 7035 finish plates fsau 154x102.5mm/6.06x4.04” cutout and fixing screws | http://datasheet.lovatoelectric.com/Monitoring_relays/RON/PMVFX00.pdf