## Moulded_case_circuit_breakers
Product | Image | Image Link | Image360 Link | ENG Description | ENG Datasheet Link | ITA Description | ITA Datasheet Link | POL Description | POL Datasheet Link | RON Description | RON Datasheet Link
P5ME3PH0100UL | P5ME3PH0100UL.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5ME3PH0100UL.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5ME3PH0100UL\360 - P5ME3PH0100UL.HTML | Moulded case circuit breaker three-pole, UL489 standard, 100A - Icu 65kA at 480V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5ME3PH0100UL.pdf | Interruttore scatolato tripolari a norma UL, 100A - Icu 65kA a 480V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5ME3PH0100UL.pdf | 3 polowy wyłącznik kompaktowy wg UL489, 100A, Icu 65kA przy 480V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5ME3PH0100UL.pdf | Intreruptor de putere 3 poli, UL489 standard, 100A - Icu 65kA la 480V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5ME3PH0100UL.pdf
P5ME3PH0250UL | P5ME3PH0250UL.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5ME3PH0250UL.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5ME3PH0250UL\360 - P5ME3PH0250UL.HTML | Moulded case circuit breaker three-pole, UL489 standard, 250A - Icu 65kA at 480V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5ME3PH0250UL.pdf | Interruttore scatolato tripolari a norma UL, 250A - Icu 65kA a 480V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5ME3PH0250UL.pdf | 3 polowy wyłącznik kompaktowy wg UL489, 250A, Icu 65kA przy 480V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5ME3PH0250UL.pdf | Intreruptor de putere 3 poli, UL489 standard, 250A - Icu 65kA la 480V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5ME3PH0250UL.pdf
P5ME3PH0400UL | P5ME3PH0400UL.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5ME3PH0400UL.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5ME3PH0400UL\360 - P5ME3PH0400UL.HTML | Moulded case circuit breaker three-pole, UL489 standard, 400A - Icu 65kA at 480V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5ME3PH0400UL.pdf | Interruttore scatolato tripolari a norma UL, 400A - Icu 65kA a 480V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5ME3PH0400UL.pdf | 3 polowy wyłącznik kompaktowy wg UL489, 400A, Icu 65kA przy 480V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5ME3PH0400UL.pdf | Intreruptor de putere 3 poli, UL489 standard, 400A - Icu 65kA la 480V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5ME3PH0400UL.pdf
P5ME3PH0600UL | P5ME3PH0600UL.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5ME3PH0600UL.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5ME3PH0600UL\360 - P5ME3PH0600UL.HTML | Moulded case circuit breaker three-pole, UL489 standard, 600A - Icu 65kA at 480V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5ME3PH0600UL.pdf | Interruttore scatolato tripolari a norma UL, 600A - Icu 65kA a 480V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5ME3PH0600UL.pdf | 3 polowy wyłącznik kompaktowy wg UL489, 600A, Icu 65kA przy 480V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5ME3PH0600UL.pdf | Intreruptor de putere 3 poli, UL489 standard, 600A - Icu 65kA la 480V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5ME3PH0600UL.pdf
P5ME3PS0100 | P5ME3PS0100.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5ME3PS0100.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5ME3PS0100\360 - P5ME3PS0100.HTML | Moulded case circuit breaker three-pole, IEC standard, 100A - Icu 50kA at 400V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5ME3PS0100.pdf | Interruttore scatolato tripolari a norma IEC, 100A - Icu 50kA a 400V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5ME3PS0100.pdf | 3 polowy wyłącznik kompaktowy wg IEC, 100A, Icu 50kA przy 400V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5ME3PS0100.pdf | Intreruptor de putere 3 poli, IEC standard, 100A - Icu 50kA la 400V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5ME3PS0100.pdf
P5ME3PS0160 | P5ME3PS0100.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5ME3PS0100.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5ME3PS0100\360 - P5ME3PS0100.HTML | Moulded case circuit breaker three-pole, IEC standard, 160A - Icu 50kA at 400V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5ME3PS0160.pdf | Interruttore scatolato tripolari a norma IEC, 160A - Icu 50kA a 400V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5ME3PS0160.pdf | 3 polowy wyłącznik kompaktowy wg IEC, 160A, Icu 50kA przy 400V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5ME3PS0160.pdf | Intreruptor de putere 3 poli, IEC standard, 160A - Icu 50kA la 400V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5ME3PS0160.pdf
P5ME3PS0250 | P5ME3PS0100.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5ME3PS0100.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5ME3PS0100\360 - P5ME3PS0100.HTML | Moulded case circuit breaker three-pole, IEC standard, 250A - Icu 50kA at 400V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5ME3PS0250.pdf | Interruttore scatolato tripolari a norma IEC, 250A - Icu 50kA a 400V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5ME3PS0250.pdf | 3 polowy wyłącznik kompaktowy wg IEC, 250A, Icu 50kA przy 400V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5ME3PS0250.pdf | Intreruptor de putere 3 poli, IEC standard, 250A - Icu 50kA la 400V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5ME3PS0250.pdf
P5ME3PS0400 | P5ME3PS0400.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5ME3PS0400.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5ME3PS0400\360 - P5ME3PS0400.HTML | Moulded case circuit breaker three-pole, IEC standard, 400A - Icu 65kA at 400V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5ME3PS0400.pdf | Interruttore scatolato tripolari a norma IEC, 400A - Icu 65kA a 400V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5ME3PS0400.pdf | 3 polowy wyłącznik kompaktowy wg IEC, 400A, Icu 65kA przy 400V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5ME3PS0400.pdf | Intreruptor de putere 3 poli, IEC standard, 400A - Icu 65kA la 400V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5ME3PS0400.pdf
P5ME3PS0630 | P5ME3PS0400.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5ME3PS0400.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5ME3PS0400\360 - P5ME3PS0400.HTML | Moulded case circuit breaker three-pole, IEC standard, 630A - Icu 65kA at 400V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5ME3PS0630.pdf | Interruttore scatolato tripolari a norma IEC, 630A - Icu 65kA a 400V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5ME3PS0630.pdf | 3 polowy wyłącznik kompaktowy wg IEC, 630A, Icu 65kA przy 400V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5ME3PS0630.pdf | Intreruptor de putere 3 poli, IEC standard, 630A - Icu 65kA la 400V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5ME3PS0630.pdf
P5ME3PS0800 | P5ME3PS0800.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5ME3PS0800.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5ME3PS0800\360 - P5ME3PS0800.HTML | Moulded case circuit breaker three-pole, IEC standard, 800A - Icu 65kA at 400V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5ME3PS0800.pdf | Interruttore scatolato tripolari a norma IEC, 800A - Icu 65kA a 400V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5ME3PS0800.pdf | 3 polowy wyłącznik kompaktowy wg IEC, 800A, Icu 65kA przy 400V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5ME3PS0800.pdf | Intreruptor de putere 3 poli, IEC standard, 800A - Icu 65kA la 400V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5ME3PS0800.pdf
P5ME4PS0100 | P5ME4PS0100.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5ME4PS0100.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5ME4PS0100\360 - P5ME4PS0100.HTML | Moulded case circuit breaker three-pole, IEC standard, fourth pole on the left side, 100A - Icu 50kA at 400V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5ME4PS0100.pdf | Interruttore scatolato quadripolari a norma IEC quarto polo a sinistra, 100A - Icu 50kA a 400V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5ME4PS0100.pdf | 4 polowy wyłącznik kompaktowy wg IEC, 100A, Icu 50kA przy 400V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5ME4PS0100.pdf | Intreruptor de putere 4 poli, IEC standard, 100A - Icu 50kA la 400V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5ME4PS0100.pdf
P5ME4PS0160 | P5ME4PS0100.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5ME4PS0100.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5ME4PS0100\360 - P5ME4PS0100.HTML | Moulded case circuit breaker three-pole, IEC standard, fourth pole on the left side, 160A - Icu 50kA at 400V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5ME4PS0160.pdf | Interruttore scatolato quadripolari a norma IEC quarto polo a sinistra, 160A - Icu 50kA a 400V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5ME4PS0160.pdf | 4 polowy wyłącznik kompaktowy wg IEC, 160A, Icu 50kA przy 400V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5ME4PS0160.pdf | Intreruptor de putere 4 poli, IEC standard, 160A - Icu 50kA la 400V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5ME4PS0160.pdf
P5ME4PS0250 | P5ME4PS0100.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5ME4PS0100.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5ME4PS0100\360 - P5ME4PS0100.HTML | Moulded case circuit breaker three-pole, IEC standard, fourth pole on the left side, 250A - Icu 50kA at 400V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5ME4PS0250.pdf | Interruttore scatolato quadripolari a norma IEC quarto polo a sinistra, 250A - Icu 50kA a 400V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5ME4PS0250.pdf | 4 polowy wyłącznik kompaktowy wg IEC, 250A, Icu 50kA przy 400V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5ME4PS0250.pdf | Intreruptor de putere 4 poli, IEC standard, 250A - Icu 50kA la 400V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5ME4PS0250.pdf
P5ME4PS0400 | P5ME4PS0400.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5ME4PS0400.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5ME4PS0400\360 - P5ME4PS0400.HTML | Moulded case circuit breaker three-pole, IEC standard, fourth pole on the left side, 400A - Icu 65kA at 400V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5ME4PS0400.pdf | Interruttore scatolato quadripolari a norma IEC quarto polo a sinistra, 400A - Icu 65kA a 400V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5ME4PS0400.pdf | 4 polowy wyłącznik kompaktowy wg IEC, 400A, Icu 65kA przy 400V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5ME4PS0400.pdf | Intreruptor de putere 3 poli, IEC standard, 400A - Icu 65kA la 400V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5ME4PS0400.pdf
P5ME4PS0630 | P5ME4PS0400.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5ME4PS0400.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5ME4PS0400\360 - P5ME4PS0400.HTML | Moulded case circuit breaker three-pole, IEC standard, fourth pole on the left side, 630A - Icu 65kA at 400V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5ME4PS0630.pdf | Interruttore scatolato quadripolari a norma IEC quarto polo a sinistra, 630A - Icu 65kA a 400V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5ME4PS0630.pdf | 4 polowy wyłącznik kompaktowy wg IEC, 630A, Icu 65kA przy 400V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5ME4PS0630.pdf | Intreruptor de putere 4 poli, IEC standard, 630A - Icu 65kA la 400V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5ME4PS0630.pdf
P5ME4PS0800 | P5ME4PS0800.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5ME4PS0800.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5ME4PS0800\360 - P5ME4PS0800.HTML | Moulded case circuit breaker three-pole, IEC standard, fourth pole on the left side, 800A - Icu 65kA at 400V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5ME4PS0800.pdf | Interruttore scatolato quadripolare a norma IEC quarto polo a sinistra, 800A - Icu 65kA a 400V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5ME4PS0800.pdf | 4 polowy wyłącznik kompaktowy wg IEC, 800A, Icu 65kA przy 400V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5ME4PS0800.pdf | Intreruptor de putere 3 poli, IEC standard, 800A - Icu 65kA la 400V | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5ME4PS0800.pdf
P5X1011 | P5X1011.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X1011.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5X1011\360 - P5X1011.HTML | Add-on auxiliary contact for P5ME, one changeover contact. Screw terminals | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X1011.pdf | Contatto ausiliario aggiuntivo per P5ME, 1 contatto in scambio. Terminali a vite | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X1011.pdf | Zestyk pomocniczy do P5M, 1 C/O, zaciski śrubowe | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X1011.pdf | Contact auxiliar suplimentar pentru P5ME, un contact inversor. Borne cu șuruburi | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X1011.pdf
P5X1011UL | P5X1011.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X1011.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5X1011\360 - P5X1011.HTML | Add-on auxiliary contact for tripping indication for UL certified MCCBs, one changeover contact. Screw terminals | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X1011UL.pdf | Contatto ausiliario aggiuntivo per interruttori P5ME certificati UL, contatto in scambio. Terminali a vite | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X1011UL.pdf | Zestyk pomocniczy do sygnalizacji zadziałania do P5M wg UL, 1 C/O, zaciski śrubowe | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X1011UL.pdf | Contact auxiliar suplimentar pentru indicarea declanșării pentru MCCB-uri certificate UL, un contact inversor. Borne cu șuruburi | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X1011UL.pdf
P5X1311 | P5X1311.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X1311.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5X1311\360 - P5X1311.HTML | Add-on auxiliary contacts tripping indication for overload, short circuit, and releases. | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X1311.pdf | Contatto ausiliario aggiuntivo di segnalazione intervento per sovraccarico, corto circuito o intervento sganciatori | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X1311.pdf | Zestyki pomocnicze do sygnalizacji przeciążenia, zwarcia i zadziałania | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X1311.pdf | Contact auxiliar suplimentar pentru semnalizarea intervenției din cauza suprasarcinii, scurtcircuitului sau declanșării declanșatoarelor | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X1311.pdf
P5X1311E | P5X1311.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X1311.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5X1311\360 - P5X1311.HTML | Add-on auxiliary contact, one changeover contact for overload and short circuit tripping indication, wired | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X1311E.pdf | Contatto ausiliario aggiuntivo di segnalazione intervento, 1 contatto di scambio per interruttori P5ME, terminali con cavo | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X1311E.pdf | Zestyk pomocniczy do sygnalizacji zadziałania do P5M, 1 C/O, z przewodem | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X1311E.pdf | Add-on auxiliary contact, one changeover contact for overload and short circuit tripping indication, wired | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X1311E.pdf
P5X1311UL | P5X1311.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X1311.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5X1311\360 - P5X1311.HTML | Add-on auxiliary contact, one changeover contact for overload and short circuit tripping indication, for UL certified MCCBs, wired | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X1311UL.pdf | Contatto ausiliario aggiuntivo di segnalazione intervento, 1 contatto di scambio per interruttori P5ME certificati UL, terminali con cavo | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X1311UL.pdf | Zestyk pomocniczy do sygnalizacji zadziałania do P5M wg UL, 1 C/O, z przewodem | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X1311UL.pdf | Contact auxiliar suplimentar, un contact inversor pentru indicarea de suprasarcină și scurtcircuit, pentru MCCB-uri certificate UL, cu fir | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X1311UL.pdf
P5X14A400 | P5X14E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X14E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5X14E230\360 - P5X14E230.HTML | Undervoltage trip release for P5ME, 380…440VAC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X14A400.pdf | Sganciatore di minima tensione per interruttori scatolati P5ME, 380…440VAC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X14A400.pdf | Wyzwalacz podnapięciowy do P5M, 380…440VAC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X14A400.pdf | Declanșare la subtensiune pentru P5ME, 380…440VAC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X14A400.pdf
P5X14A400UL | P5X14E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X14E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5X14E230\360 - P5X14E230.HTML | Undervoltage trip release for P5ME UL certified, 380…440VAC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X14A400UL.pdf | Sganciatore di minima tensione per interruttori scatolati P5ME certificati UL, 380…440VAC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X14A400UL.pdf | Wyzwalacz podnapięciowy do P5M wg UL, 380…440VAC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X14A400UL.pdf | Declanșare la subtensiune pentru P5ME certificat UL, 380…440VAC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X14A400UL.pdf
P5X14A440 | P5X14E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X14E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5X14E230\360 - P5X14E230.HTML | Undervoltage trip release for P5ME, 440…480VAC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X14A440.pdf | Sganciatore di minima tensione interruttori scatolati P5ME, 440…480VAC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X14A440.pdf | Wyzwalacz podnapięciowy do P5M, 440…480VAC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X14A440.pdf | Declanșare la subtensiune pentru P5ME, 440…480VAC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X14A440.pdf
P5X14A440UL | P5X14E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X14E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5X14E230\360 - P5X14E230.HTML | Undervoltage trip release for P5ME UL certified, 440…480VAC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X14A440UL.pdf | Sganciatore di minima tensione interruttori scatolati P5ME certificati UL, 440…480VAC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X14A440UL.pdf | Wyzwalacz podnapięciowy do P5M wg UL, 440…480VAC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X14A440UL.pdf | Declanșare la subtensiune pentru P5ME certificat UL, 440…480VAC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X14A440UL.pdf
P5X14E024 | P5X14E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X14E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5X14E230\360 - P5X14E230.HTML | Undervoltage trip release for P5ME, 24VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X14E024.pdf | Sganciatore di minima tensione interruttori scatolati P5ME, 24VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X14E024.pdf | Wyzwalacz podnapięciowy do P5M, 24VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X14E024.pdf | Declanșator la subtensiune pentru P5ME, 24VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X14E024.pdf
P5X14E024UL | P5X14E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X14E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5X14E230\360 - P5X14E230.HTML | Undervoltage trip release for P5ME UL certified, 24VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X14E024UL.pdf | Sganciatore di minima tensione interruttori scatolati P5ME certificati UL, 24VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X14E024UL.pdf | Wyzwalacz podnapięciowy do P5M wg UL, 24VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X14E024UL.pdf | Declanșare la subtensiune pentru P5ME certificat UL, 24VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X14E024UL.pdf
P5X14E048 | P5X14E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X14E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5X14E230\360 - P5X14E230.HTML | Undervoltage trip release for P5ME, 48VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X14E048.pdf | Sganciatore di minima tensione interruttori scatolati P5ME, 48VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X14E048.pdf | Wyzwalacz podnapięciowy do P5M, 48VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X14E048.pdf | Declanșare la subtensiune pentru P5ME, 48VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X14E048.pdf
P5X14E048UL | P5X14E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X14E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5X14E230\360 - P5X14E230.HTML | Undervoltage trip release for P5ME UL certified, 48VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X14E048UL.pdf | Sganciatore di minima tensione interruttori scatolati P5ME certificati UL, 48VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X14E048UL.pdf | Wyzwalacz podnapięciowy do P5M wg UL, 48VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X14E048UL.pdf | Declanșare la subtensiune pentru P5ME certificat UL, 48VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X14E048UL.pdf
P5X14E110 | P5X14E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X14E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5X14E230\360 - P5X14E230.HTML | Undervoltage trip release for P5ME, 110…130VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X14E110.pdf | Sganciatore di minima tensione per interruttori scatolati P5ME, 110…130VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X14E110.pdf | Wyzwalacz podnapięciowy do P5M, 110…130VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X14E110.pdf | Declanșator de subtensiune pentru P5ME, 110…130VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X14E110.pdf
P5X14E110UL | P5X14E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X14E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5X14E230\360 - P5X14E230.HTML | Undervoltage trip release for P5ME UL certified, 110…130VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X14E110UL.pdf | Sganciatore di minima tensione per interruttori scatolati P5ME certificati UL, 110…130VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X14E110UL.pdf | Wyzwalacz podnapięciowy do P5M wg UL, 110…130VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X14E110UL.pdf | Declanșare la subtensiune pentru P5ME certificat UL, 110…130VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X14E110UL.pdf
P5X14E230 | P5X14E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X14E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5X14E230\360 - P5X14E230.HTML | Undervoltage trip release for P5ME, 220…240VAC - 250VDC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X14E230.pdf | Sganciatore di minima tensione per interruttori scatolati P5ME, 220…240VAC - 250VDC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X14E230.pdf | Wyzwalacz podnapięciowy do P5M, 220…240VAC - 250VDC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X14E230.pdf | Declanșare la subtensiune pentru P5ME, 220…240VAC - 250VDC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X14E230.pdf
P5X14E230UL | P5X14E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X14E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5X14E230\360 - P5X14E230.HTML | Undervoltage trip release for P5ME UL certified, 220…240VAC - 250VDC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X14E230UL.pdf | Sganciatore di minima tensione per interruttori scatolati P5ME certificati UL, 220…240VAC - 250VDC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X14E230UL.pdf | Wyzwalacz podnapięciowy do P5M wg UL, 220…240VAC - 250VDC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X14E230UL.pdf | Declanșare la subtensiune pentru P5ME certificat UL, 220...240VAC - 250VDC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X14E230UL.pdf
P5X16A400 | P5X16E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X16E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5X16E230\360 - P5X16E230.HTML | Shunt trip release for P5ME, 380…500VAC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X16A400.pdf | Bobina di apertura per interruttori scatolati P5ME, 380…500VAC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X16A400.pdf | Wyzwalacz wzrostowy do P5M, 380…500VAC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X16A400.pdf | Declanșare șunt pentru P5ME, 380...500VAC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X16A400.pdf
P5X16A400UL | P5X16E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X16E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5X16E230\360 - P5X16E230.HTML | Shunt trip release for P5ME UL certified, 380…500VAC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X16A400UL.pdf | Bobina di apertura per interruttori scatolati P5ME certificati UL, 380…500VAC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X16A400UL.pdf | Wyzwalacz wzrostowy do P5M wg UL, 380…500VAC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X16A400UL.pdf | Declanșare șunt pentru P5ME certificat UL, 380...500VAC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X16A400UL.pdf
P5X16D012 | P5X16E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X16E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5X16E230\360 - P5X16E230.HTML | Shunt trip release for P5ME, 12VDC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X16D012.pdf | Bobina di apertura per interruttori scatolati P5ME, 12VDC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X16D012.pdf | Wyzwalacz wzrostowy do P5M, 12VDC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X16D012.pdf | Declanșare șunt pentru P5ME, 12VDC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X16D012.pdf
P5X16D012UL | P5X16E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X16E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5X16E230\360 - P5X16E230.HTML | Shunt trip release for P5ME UL certified, 12VDC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X16D012UL.pdf | Bobina di apertura per interruttori scatolati P5MEcertificati UL, 12VDC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X16D012UL.pdf | Wyzwalacz wzrostowy do P5M wg UL, 12VDC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X16D012UL.pdf | Declanșare șunt pentru P5ME certificat UL, 12VDC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X16D012UL.pdf
P5X16E024 | P5X16E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X16E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5X16E230\360 - P5X16E230.HTML | Shunt trip release for P5ME, 24VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X16E024.pdf | Bobina di apertura per interruttori scatolati P5ME, 24VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X16E024.pdf | Wyzwalacz wzrostowy do P5M, 24VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X16E024.pdf | Declanșator pentru P5ME, 24VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X16E024.pdf
P5X16E024UL | P5X16E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X16E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5X16E230\360 - P5X16E230.HTML | Shunt trip release for P5ME UL certified, 24VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X16E024UL.pdf | Bobina di apertura per interruttori scatolati P5ME certificati UL, 24VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X16E024UL.pdf | Wyzwalacz wzrostowy do P5M wg UL, 24VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X16E024UL.pdf | Declanșare șunt pentru P5ME certificat UL, 24VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X16E024UL.pdf
P5X16E048 | P5X16E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X16E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5X16E230\360 - P5X16E230.HTML | Shunt trip release for P5ME, 48VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X16E048.pdf | Bobina di apertura per interruttori scatolati P5ME, 48VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X16E048.pdf | Wyzwalacz wzrostowy do P5M, 48VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X16E048.pdf | Declanșator pentru P5ME, 48VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X16E048.pdf
P5X16E048UL | P5X16E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X16E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5X16E230\360 - P5X16E230.HTML | Shunt trip release for P5ME UL certified, 48VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X16E048UL.pdf | Bobina di apertura per interruttori scatolati P5ME certificati UL, 48VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X16E048UL.pdf | Wyzwalacz wzrostowy do P5M wg UL, 48VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X16E048UL.pdf | Declanșare șunt pentru P5ME certificat UL, 48VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X16E048UL.pdf
P5X16E110 | P5X16E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X16E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5X16E230\360 - P5X16E230.HTML | Shunt trip release for P5ME, 110…130V AC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X16E110.pdf | Bobina di apertura per interruttori scatolati P5ME, 110…130V AC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X16E110.pdf | Wyzwalacz wzrostowy do P5M, 110…130VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X16E110.pdf | Declanșator pentru P5ME, 110…130V AC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X16E110.pdf
P5X16E110UL | P5X16E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X16E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5X16E230\360 - P5X16E230.HTML | Shunt trip release for P5ME UL certified, 110…130V AC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X16E110UL.pdf | Bobina di apertura per interruttori scatolati P5ME UL, 110…130V AC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X16E110UL.pdf | Wyzwalacz wzrostowy do P5M wg UL, 110…130VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X16E110UL.pdf | Declanșare în șunt pentru P5ME certificat UL, 110…130V AC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X16E110UL.pdf
P5X16E230 | P5X16E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X16E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5X16E230\360 - P5X16E230.HTML | Shunt trip release for P5ME, 220…240V AC - 250VDC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X16E230.pdf | Bobina di apertura per interruttori scatolati P5ME, 220…240V AC - 250VDC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X16E230.pdf | Wyzwalacz wzrostowy do P5M, 220…240V AC - 250VDC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X16E230.pdf | Declanșator pentru P5ME, 220…240V AC - 250VDC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X16E230.pdf
P5X16E230UL | P5X16E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X16E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5X16E230\360 - P5X16E230.HTML | Shunt trip release for P5ME UL certified, 220…240V AC - 250VDC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X16E230UL.pdf | Bobina di apertura per interruttori scatolati P5ME certificati UL, 220…240V AC - 250VDC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X16E230UL.pdf | Wyzwalacz wzrostowy do P5M wg UL, 220…240V AC - 250VDC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X16E230UL.pdf | Declanșare în șunt pentru P5ME certificat UL, 220…240V AC - 250VDC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X16E230UL.pdf
P5X18471 | P5X18471.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X18471.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ | IP65 red/ yellow padlockable door coupling handle for P5ME…100/160/250, complete with shaft 469mm | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X18471.pdf | Maniglia bloccoporta giallo/rossa lucchettabile IP65 per interruttori scatolati P5ME…100/160/250, completa di asta 469mm | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X18471.pdf | Pokrętło na drzwi, żołto/czerwone, blokowane kłódką, IP65, do P5M…100/160/250, długość trzpienia 469mm | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X18471.pdf | IP65 roșu/galben mâner de cuplare ușă lacăbil pentru P5ME…100/160/250, complet cu ax 469mm | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X18471.pdf
P5X18471B | P5X18471B.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X18471B.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ | IP65 grey padlockable door coupling handle for P5ME…100/160/250, complete with shaft 469mm | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X18471B.pdf | Maniglia bloccoporta grigia lucchettabile IP65 per interruttori scatolati P5ME…100/160/250, completa di asta 469mm | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X18471B.pdf | Pokrętło na drzwi, czarno/szare, blokowane kłódką, IP65, do P5M…100/160/250, długość trzpienia 469mm | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X18471B.pdf | Mâner de cuplare a ușii cu lacăt IP65 gri pentru P5ME…100/160/250, complet cu ax 469mm | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X18471B.pdf
P5X18471UL | P5X18471B.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X18471B.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ | IP65 grey padlockable door coupling handle for P5ME…100/160/250, complete with shaft 469mm | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X18471UL.pdf | Maniglia bloccoporta grigia lucchettabile IP65 per interruttori scatolati P5ME…100/160/250, completa di asta 469mm | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X18471UL.pdf | Pokrętło na drzwi, czarno/szare, blokowane kłódką, IP65, do P5M…100/160/250 wg UL, długość trzpienia 469mm | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X18471UL.pdf | IP65 gri mâner de cuplare a ușii lacăbil pentru P5ME…100/160/250, complet cu ax 469mm | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X18471UL.pdf
P5X18472 | P5X18471.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X18471.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ | IP65 red/ yellow padlockable door coupling handle for P5ME…400/630, complete with shaft 469mm | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X18472.pdf | Maniglia bloccoporta giallo/rossa lucchettabile IP65 per interruttori scatolati P5ME…400/630, completa di asta 469mm | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X18472.pdf | Pokrętło na drzwi, żołto/czerwone, blokowane kłódką, IP65, do P5M…400/630, długość trzpienia 469mm | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X18472.pdf | IP65 roșu/galben mâner de cuplare a ușii lacăbil pentru P5ME…400/630, complet cu ax 469mm | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X18472.pdf
P5X18472B | P5X18472B.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X18472B.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ | IP65 grey padlockable door coupling handle for P5ME…400/630, complete with shaft 469mm | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X18472B.pdf | Maniglia bloccoporta grigia lucchettabile IP65 per interruttori scatolati P5ME…400/630, completa di asta 469mm | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X18472B.pdf | Pokrętło na drzwi, czarno/szare, blokowane kłódką, IP65, do P5M…400/630, długość trzpienia 469mm | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X18472B.pdf | Mâner de cuplare a ușii cu lacăt IP65 gri pentru P5ME…400/630, complet cu ax 469mm | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X18472B.pdf
P5X18472UL | P5X18472B.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X18472B.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ | IP65 grey padlockable door coupling handle for P5ME…400/630, complete with shaft 469mm | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X18472UL.pdf | Maniglia bloccoporta grigia lucchettabile IP65 per interruttori scatolati P5ME…400/630, completa di asta 469mm | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X18472UL.pdf | Pokrętło na drzwi, czarno/szare, blokowane kłódką, IP65, do P5M…400/630, długość trzpienia 469mm | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X18472UL.pdf | Mâner de cuplare a ușii cu lacăt IP65 gri pentru P5ME…400/630, complet cu ax 469mm | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X18472UL.pdf
P5X18473B | P5X18472B.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X18472B.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ | IP65 grey padlockable door coupling handle IP65 for P5ME…0800, complete with shaft 469mm | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X18473B.pdf | Maniglia bloccoporta grigia lucchettabile IP65 per interruttori scatolati P5ME…0800, completa di asta 469mm | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X18473B.pdf | Pokrętło na drzwi, czarno/szare, blokowane kłódką, IP65, do P5M…800, długość trzpienia 469mm | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X18473B.pdf | Mâner de cuplare ușă cu lacăt gri IP65 IP65 pentru P5ME…0800, complet cu ax 469mm | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X18473B.pdf
P5X191D024 | P5X191.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X191.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5X191E230\360 - P5X191E230.HTML | Motor operator for remote operation for P5ME…100/160/250, 24VDC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X191D024.pdf | Comando a motore per azionamento a distanza per interruttori scatolati P5ME…100/160/250, 24VDC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X191D024.pdf | Napęd silnikowy do zdalnego sterowania, zasilanie 24VDC, do P5M…100/160/250 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X191D024.pdf | Operator motor pentru operare de la distanță pentru P5ME…100/160/250, 24VDC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X191D024.pdf
P5X191D024UL | P5X191.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X191.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5X191E230\360 - P5X191E230.HTML | Motor operator for remote operation for P5ME…100/160/250, 24VDC, UL certified | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X191D024UL.pdf | Comando a motore per azionamento a distanza per interruttori scatolati P5ME…100/160/250, 24VDC, a norma UL | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X191D024UL.pdf | Napęd silnikowy do zdalnego sterowania, zasilanie 24VDC, do P5M…100/160/250 wg UL | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X191D024UL.pdf | Operator motor pentru operare de la distanță pentru P5ME…100/160/250, 24VDC, certificat UL | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X191D024UL.pdf
P5X191E110 | P5X191.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X191.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5X191E230\360 - P5X191E230.HTML | Motor operator for remote operation for P5ME…100/160/250, 110VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X191E110.pdf | Comando a motore per azionamento a distanza per interruttori scatolati P5ME…100/160/250, 110VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X191E110.pdf | Napęd silnikowy do zdalnego sterowania, zasilanie 110VAC/DC, do P5M…100/160/250 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X191E110.pdf | Operator motor pentru operare de la distanță pentru P5ME…100/160/250, 110VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X191E110.pdf
P5X191E110UL | P5X191.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X191.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5X191E230\360 - P5X191E230.HTML | Motor operator for remote operation for P5ME…100/160/250, 110VAC/DC, UL certified | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X191E110UL.pdf | Comando a motore per azionamento a distanza per interruttori scatolati P5ME…100/160/250, 110VAC/DC, a norma UL | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X191E110UL.pdf | Napęd silnikowy do zdalnego sterowania, zasilanie 110VAC/DC, do P5M…100/160/250 wg UL | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X191E110UL.pdf | Operator de motor pentru operare de la distanță pentru P5ME…100/160/250, 110VAC/DC, certificat UL | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X191E110UL.pdf
P5X191E230 | P5X191.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X191.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5X191E230\360 - P5X191E230.HTML | Motor operator for remote operation for P5ME…100/160/250, 230VAC / 220VDC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X191E230.pdf | Comando a motore per azionamento a distanza per interruttori scatolati P5ME…100/160/250, 230VAC / 220VDC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X191E230.pdf | Napęd silnikowy do zdalnego sterowania, zasilanie 230VAC/DC, do P5M…100/160/250 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X191E230.pdf | Operator motor pentru operare de la distanță pentru P5ME…100/160/250, 230VAC / 220VDC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X191E230.pdf
P5X191E230UL | P5X191.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X191.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5X191E230\360 - P5X191E230.HTML | Motor operator for remote operation for P5ME…100/160/250, 230VAC / 220VDC, UL certified | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X191E230UL.pdf | Comando a motore per azionamento a distanza per interruttori scatolati P5ME…100/160/250, 230VAC / 220VDC, a norma UL | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X191E230UL.pdf | Napęd silnikowy do zdalnego sterowania, zasilanie 230VAC/DC, do P5M…100/160/250 wg UL | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X191E230UL.pdf | Operator motor pentru operare de la distanță pentru P5ME…100/160/250, 230VAC / 220VDC, certificat UL | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X191E230UL.pdf
P5X192D024 | P5X192.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X192.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5X192E230\360 - P5X192E230.HTML | Motor operator for remote operation for P5ME…400/630, 24VDC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X192D024.pdf | Comando a motore per azionamento a distanza per interruttori scatolati P5ME…400/630, 24VDC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X192D024.pdf | Napęd silnikowy do zdalnego sterowania, zasilanie 24VDC, do P5M…400/630 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X192D024.pdf | Operator motor pentru operare de la distanță pentru P5ME…400/630, 24VDC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X192D024.pdf
P5X192D024UL | P5X192.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X192.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5X192E230\360 - P5X192E230.HTML | Motor operator for remote operation for P5ME…400/630, 24VDC, UL certified | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X192D024UL.pdf | Comando a motore per azionamento a distanza per interruttori scatolati P5ME…400/630, 24VDC, a norma UL | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X192D024UL.pdf | Napęd silnikowy do zdalnego sterowania, zasilanie 24VDC, do P5M…400/630 wg UL | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X192D024UL.pdf | Operator motor pentru operare de la distanță pentru P5ME…400/630, 24VDC, certificat UL | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X192D024UL.pdf
P5X192E110 | P5X192.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X192.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5X192E230\360 - P5X192E230.HTML | Motor operator for remote operation for P5ME…400/630, 110VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X192E110.pdf | Comando a motore per azionamento a distanza per interruttori scatolati P5ME…400/630, 110VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X192E110.pdf | Napęd silnikowy do zdalnego sterowania, zasilanie 110VAC/DC, do P5M…400/630 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X192E110.pdf | Operator motor pentru operare de la distanță pentru P5ME…400/630, 110VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X192E110.pdf
P5X192E110UL | P5X192.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X192.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5X192E230\360 - P5X192E230.HTML | Motor operator for remote operation for P5ME…400/630, 110VAC/DC, UL certified | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X192E110UL.pdf | Comando a motore per azionamento a distanza per interruttori scatolati P5ME…400/630, 110VAC/DC, a norma UL | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X192E110UL.pdf | Napęd silnikowy do zdalnego sterowania, zasilanie 110VAC/DC, do P5M…400/630 wg UL | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X192E110UL.pdf | Operator de motor pentru operare de la distanță pentru P5ME…400/630, 110VAC/DC, certificat UL | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X192E110UL.pdf
P5X192E230 | P5X192.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X192.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5X192E230\360 - P5X192E230.HTML | Motor operator for remote operation for P5ME…400/630, 230VAC / 220VDC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X192E230.pdf | Comando a motore per azionamento a distanza per interruttori scatolati P5ME…400/630, 230VAC / 220VDC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X192E230.pdf | Napęd silnikowy do zdalnego sterowania, zasilanie 230VAC/DC, do P5M…400/630 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X192E230.pdf | Operator motor pentru operare de la distanță pentru P5ME…400/630, 230VAC / 220VDC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X192E230.pdf
P5X192E230UL | P5X192.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X192.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5X192E230\360 - P5X192E230.HTML | Motor operator for remote operation for P5ME…400/630, 230VAC / 220VDC, UL certified | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X192E230UL.pdf | Comando a motore per azionamento a distanza per interruttori scatolati P5ME…400/630, 230VAC / 220VDC, a norma UL | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X192E230UL.pdf | Napęd silnikowy do zdalnego sterowania, zasilanie 230VAC/DC, do P5M…400/630 wg UL | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X192E230UL.pdf | Operator motor pentru operare de la distanță pentru P5ME…400/630, 230VAC / 220VDC, certificat UL | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X192E230UL.pdf
P5X193D024 | P5X193E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X193E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5X193E230\360 - P5X193E230.HTML | Motor operator for remote operation for P5ME…0800, 24VDC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X193D024.pdf | Comando a motore per azionamento a distanza per interruttori scatolati P5ME…0800, 24VDC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X193D024.pdf | Napęd silnikowy do zdalnego sterowania, zasilanie 24VDC, do P5M…800 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X193D024.pdf | Operator motor pentru operare de la distanță pentru P5ME…0800, 24VDC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X193D024.pdf
P5X193E110 | P5X193E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X193E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5X193E230\360 - P5X193E230.HTML | Motor operator for remote operation for P5ME…0800, 110VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X193E110.pdf | Comando a motore per azionamento a distanza per interruttori scatolati P5ME…0800, 110VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X193E110.pdf | Napęd silnikowy do zdalnego sterowania, zasilanie 110VAC/DC, do P5M…800 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X193E110.pdf | Operator motor pentru operare de la distanță pentru P5ME…0800, 110VAC/DC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X193E110.pdf
P5X193E230 | P5X193E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X193E230.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5X193E230\360 - P5X193E230.HTML | Motor operator for remote operation for P5ME…0800, 230VAC / 220VDC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X193E230.pdf | Comando a motore per azionamento a distanza per interruttori scatolati P5ME…0800, 230VAC / 220VDC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X193E230.pdf | Napęd silnikowy do zdalnego sterowania, zasilanie 230VAC/DC, do P5M…800 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X193E230.pdf | Operator motor pentru operare de la distanță pentru P5ME…0800, 230VAC / 220VDC | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X193E230.pdf
P5X194X1UL | P5X194X1UL.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X194X1UL.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ | Handle with cable operating mechanism rear fixing, for P5ME3PH0100UL and P5ME3PH0250UL, degree of protection UL: Type 1, 12, 3, 3R, 4 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X194X1UL.pdf | Maniglia per comando a cavo fissaggio fondo quadro, per interruttori P5ME3PH0100UL e P5ME3PH0250UL, grado di protezione UL: Type 1, 12, 3, 3R, 4 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X194X1UL.pdf | Dźwignia sterująca z linką do P5M…100UL/250UL, montaż z tyłu | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X194X1UL.pdf | Mâner cu mecanism de acționare prin cablu fixare spate, pentru P5ME3PH0100UL și P5ME3PH0250UL, grad de protecție UL: Tip 1, 12, 3, 3R, 4 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X194X1UL.pdf
P5X194X2UL | P5X194X1UL.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X194X1UL.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ | Handle with cable operating mechanism rear fixing, for P5ME3PH0100UL and P5ME3PH0250UL, degree of protection UL: Type 1, 12, 3, 3R, 4 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X194X2UL.pdf | Maniglia per comando a cavo fissaggio fondo quadro, per interruttori P5ME3PH0100UL e P5ME3PH0250UL, grado di protezione UL: Type 1, 12, 3, 3R, 4 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X194X2UL.pdf | Dźwignia sterująca z linką do P5M…100UL/250UL, montaż z tyłu | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X194X2UL.pdf | Mâner cu mecanism de acționare prin cablu fixare spate, pentru P5ME3PH0100UL și P5ME3PH0250UL, grad de protecție UL: Tip 1, 12, 3, 3R, 4 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X194X2UL.pdf
P5X195X1UL | P5X194X1UL.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X194X1UL.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ | Handle with cable operating mechanism rear fixing, for P5ME3PH0100UL and P5ME3PH0250UL, degree of protection UL: Type 1, 12, 3, 3R, 4 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X195X1UL.pdf | Maniglia per comando a cavo fissaggio fondo quadro, per interruttori P5ME3PH0100UL e P5ME3PH0250UL, grado di protezione UL: Type 1, 12, 3, 3R, 4 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X195X1UL.pdf | Dźwignia sterująca z linką do P5M…100UL/250UL, montaż z tyłu | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X195X1UL.pdf | Mâner cu mecanism de acționare prin cablu fixare spate, pentru P5ME3PH0100UL și P5ME3PH0250UL, grad de protecție UL: Tip 1, 12, 3, 3R, 4 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X195X1UL.pdf
P5X195X2UL | P5X194X1UL.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X194X1UL.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ | Handle with cable operating mechanism rear fixing, for P5ME3PH0100UL and P5ME3PH0250UL, degree of protection UL: Type 1, 12, 3, 3R, 4 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X195X2UL.pdf | Maniglia per comando a cavo fissaggio fondo quadro, per interruttori P5ME3PH0100UL e P5ME3PH0250UL, grado di protezione UL: Type 1, 12, 3, 3R, 4 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X195X2UL.pdf | Dźwignia sterująca z linką do P5M…100UL/250UL, montaż z tyłu | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X195X2UL.pdf | Mâner cu mecanism de acționare prin cablu fixare spate, pentru P5ME3PH0100UL și P5ME3PH0250UL, grad de protecție UL: Tip 1, 12, 3, 3R, 4 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X195X2UL.pdf
P5X19L36UL | P5X19L36UL.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X19L36UL.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ | Cable for handle type P5X194X… 36 inch long (915mm) | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X19L36UL.pdf | Cavo per maniglia P5X194X… lunghezza 915mm | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X19L36UL.pdf | Linka do dźwigni P5X19…, długość 915mm | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X19L36UL.pdf | Cablu pentru mâner tip P5X194X… 36 inch lungime (915 mm) | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X19L36UL.pdf
P5X19L48UL | P5X19L36UL.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X19L36UL.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ | Cable for handle type P5X194X… 48 inch long (1219mm) | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X19L48UL.pdf | Cavo per maniglia P5X194X… lunghezza 1219mm | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X19L48UL.pdf | Linka do dźwigni P5X19…, długość 1219mm | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X19L48UL.pdf | Cablu pentru mâner tip P5X194X… 48 inch lungime (1219mm) | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X19L48UL.pdf
P5X19L60UL | P5X19L36UL.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X19L36UL.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ | Cable for handle type P5X194X… 60 inch long (1524mm) | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X19L60UL.pdf | Cavo per maniglia P5X194X… lunghezza 1524mm | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X19L60UL.pdf | Linka do dźwigni P5X19…, długość 1524mm | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X19L60UL.pdf | Cablu pentru mâner tip P5X194X… 60 inch lungime (1524mm) | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X19L60UL.pdf
P5X501 | P5X501.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X501.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ | Terminal clamp set for rigid and flexible cables for P5ME3PH0100UL, 3-piece set | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X501.pdf | Attacco terminale per cavi rigidi e flessibili per P5ME3PH0100UL, kit 3 pezzi | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X501.pdf | Zestaw 3 sztuk zacisków dodatkowych do P5ME3PH0100UL | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X501.pdf | Set cleme terminale pentru cabluri rigide și flexibile pentru P5ME3PH0100UL, set de 3 piese | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X501.pdf
P5X502 | P5X502.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X502.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ | Terminal clamp set for rigid and flexible cables for P5ME3PH0250UL, 3-piece set | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X502.pdf | Attacco terminale per cavi rigidi e flessibili per P5ME3PH0250UL, kit 3 pezzi | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X502.pdf | Zestaw 3 sztuk zacisków dodatkowych do P5ME3PH0250UL | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X502.pdf | Set cleme terminale pentru cabluri rigide și flexibile pentru P5ME3PH0250UL, set de 3 piese | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X502.pdf
P5X503 | P5X503.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X503.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ | Terminal clamp set for rigid and flexible cables for P5ME3PH0400UL, 3-piece set | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X503.pdf | Attacco terminale per cavi rigidi e flessibili per P5ME3PH0400UL, kit 3 pezzi | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X503.pdf | Zestaw 3 sztuk zacisków dodatkowych do P5ME3PH0400UL | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X503.pdf | Set cleme terminale pentru cabluri rigide și flexibile pentru P5ME3PH0400UL, set de 3 piese | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X503.pdf
P5X504 | P5X504.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X504.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ | Terminal clamp set for rigid and flexible cables for P5ME3PH0600UL, 3-piece set | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X504.pdf | Attacco terminale per cavi rigidi e flessibili per P5ME3PH0600UL, kit 3 pezzi | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X504.pdf | Zestaw 3 sztuk zacisków dodatkowych do P5ME3PH0600UL | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X504.pdf | Set cleme terminale pentru cabluri rigide și flexibile pentru P5ME3PH0600UL, set de 3 piese | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X504.pdf
P5X831L | P5X832L.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X832L.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ | Power terminal protections long version, three-pole terminal cover for P5ME3PS0100, P5ME3PS0160 and P5ME3PS0250 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X831L.pdf | Protezione terminali di potenza versione lunga, copriattacco tripolare per P5ME3PS0100, P5ME3PS0160 e P5ME3PS0250 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X831L.pdf | 3 polowe osłony zacisków prądowych, wersja długa, do P5…100/160/250 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X831L.pdf | Protecții terminale de alimentare versiune lungă, capac pentru terminale cu trei poli pentru P5ME3PS0100, P5ME3PS0160 și P5ME3PS0250 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X831L.pdf
P5X831S | P5X842S.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X842S.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ | Power terminal protections short version, three-pole terminal cover for P5ME3PS0100, P5ME3PS0160 and P5ME3PS0250 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X831S.pdf | Protezione terminali di potenza versione corta, copriattacco tripolare per P5ME3PS0100, P5ME3PS0160 e P5ME3PS0250 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X831S.pdf | 3 polowe osłony zacisków prądowych, wersja krótka, do P5…100/160/250 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X831S.pdf | Protecții terminale de alimentare versiune scurtă, capac pentru terminale cu trei poli pentru P5ME3PS0100, P5ME3PS0160 și P5ME3PS0250 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X831S.pdf
P5X832L | P5X832L.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X832L.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5X832L\360 - P5X832L.HTML | Power terminal protections long version, three-pole terminal cover for P5ME3PS0400 and P5ME3PS0630 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X832L.pdf | Protezione terminali di potenza versione lunga, copriattacco tripolare per P5ME3PS0400 e P5ME3PS0630 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X832L.pdf | 3 polowe osłony zacisków prądowych, wersja długa, do P5…400/630 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X832L.pdf | Protecții terminale de alimentare versiune lungă, capac pentru terminale cu trei poli pentru P5ME3PS0400 și P5ME3PS0630 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X832L.pdf
P5X832S | P5X842S.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X842S.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ | Power terminal protections short version, three-pole terminal cover for P5ME3PS0400 and P5ME3PS0630 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X832S.pdf | Protezione terminali di potenza versione corta, copriattacco tripolare per P5ME3PS0400 e P5ME3PS0630 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X832S.pdf | 3 polowe osłony zacisków prądowych, wersja krótka, do P5…400/630 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X832S.pdf | Protecții terminale de alimentare versiune scurtă, capac pentru terminale cu trei poli pentru P5ME3PS0400 și P5ME3PS0630 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X832S.pdf
P5X833L | P5X832L.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X832L.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ | Power terminal protections long version, three-pole terminal cover for P5ME3PS0800 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X833L.pdf | Protezione terminali di potenza versione lunga, copriattacco tripolare per P5ME3PS0800 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X833L.pdf | 3 polowe osłony zacisków prądowych, wersja długa, do P5…800 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X833L.pdf | Protecții terminale de alimentare versiune lungă, capac terminal tripolar pentru P5ME3PS0800 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X833L.pdf
P5X833S | P5X842S.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X842S.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ | Power terminal protections short version, three-pole terminal cover for P5ME3PS0800 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X833S.pdf | Protezione terminali di potenza versione corta, copriattacco tripolare per P5ME3PS0800 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X833S.pdf | 3 polowe osłony zacisków prądowych, wersja krótka, do P5…800 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X833S.pdf | Protecții terminale de alimentare versiune scurtă, capac terminal tripolar pentru P5ME3PS0800 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X833S.pdf
P5X841L | P5X832L.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X832L.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ | Four-pole terminal cover long version, for P5ME4PS0100, P5ME4PS0160 and P5ME4PS0250 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X841L.pdf | Copriattacco quadripolare versione lunga, per P5ME4PS0100, P5ME4PS0160 e P5ME4PS0250 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X841L.pdf | 4 polowe osłony zacisków prądowych, wersja długa, do P5…100/160/250 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X841L.pdf | Capac terminal cu patru poli versiune lungă, pentru P5ME4PS0100, P5ME4PS0160 și P5ME4PS0250 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X841L.pdf
P5X841S | P5X842S.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X842S.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ | Four-pole terminal cover short version, for P5ME4PS0100, P5ME4PS0160 and P5ME4PS0250 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X841S.pdf | Copriattacco quadripolare versione corta, per P5ME4PS0100, P5ME4PS0160 e P5ME4PS0250 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X841S.pdf | 4 polowe osłony zacisków prądowych, wersja krótka, do P5…100/160/250 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X841S.pdf | Capac terminal cu patru poli versiune scurtă, pentru P5ME4PS0100, P5ME4PS0160 și P5ME4PS0250 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X841S.pdf
P5X842L | P5X832L.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X832L.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ | Four-pole terminal cover long version, for P5ME4PS0400 and P5ME4PS0630 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X842L.pdf | Copriattacco quadripolare versione lunga, per P5ME4PS0400 e P5ME4PS0630 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X842L.pdf | 4 polowe osłony zacisków prądowych, wersja długa, do P5…400/630 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X842L.pdf | Capac terminal cu patru poli versiune lungă, pentru P5ME4PS0400 și P5ME4PS0630 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X842L.pdf
P5X842S | P5X842S.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X842S.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images\360\360 - P5X842S\360 - P5X842S.HTML | Four-pole terminal cover short version, for P5ME4PS0400 and P5ME4PS0630 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X842S.pdf | Copriattacco quadripolare versione corta, per P5ME4PS0400 e P5ME4PS0630 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X842S.pdf | 4 polowe osłony zacisków prądowych, wersja krótka, do P5…400/630 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X842S.pdf | Capac terminal cu patru poli versiune scurtă, pentru P5ME4PS0400 și P5ME4PS0630 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X842S.pdf
P5X843L | P5X832L.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X832L.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ | Four-pole terminal cover long version, for P5ME4PS0800 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X843L.pdf | Copriattacco quadripolare versione lunga, per P5ME4PS0800 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X843L.pdf | 4 polowe osłony zacisków prądowych, wersja długa, do P5…800 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X843L.pdf | Capac terminal cu patru poli versiune lungă, pentru P5ME4PS0800 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X843L.pdf
P5X843S | P5X842S.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/products_images/P5X842S.jpg | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ | Four-pole terminal cover short version, for P5ME4PS0800 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ENG/P5X843S.pdf | Copriattacco quadripolare versione corta, per P5ME4PS0800 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/ITA/P5X843S.pdf | 4 polowe osłony zacisków prądowych, wersja krótka, do P5…800 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/POL/P5X843S.pdf | Capac terminal cu patru poli versiune scurtă, pentru P5ME4PS0800 | https://datasheet.lovatoelectric.com/Moulded_case_circuit_breakers/RON/P5X843S.pdf